## Main
State | DISCOM | Financial year | Indicator category | Indicator | Standard | Reported data | Annualised / standardised reported data | Comparison possible? | Standard met? | If comparison is not possible, why? | Interpretation | Documentation of standardisation / transformation
Odisha | TPWODL | FY 2025-26 | Quality of Service | Normal fuse-off call rectification — share resolved within standard | At least 90% of fuse-off calls rectified within 6 hours (Urban) / 24 hours (Rural) of complaint | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Quality of Service | Line breakdown restoration — share resolved within standard | At least 95% of line breakdowns restored within 12 hours (Urban) / 24 hours (Rural) of occurrence of the breakdown | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Quality of Service | Distribution transformer failure restoration — share resolved within standard | At least 95% of failed distribution transformers replaced within 24 hours (Urban) / 48 hours (Rural) of complaint | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Quality of Service | Scheduled outage restoration — share resolved within standard | At least 90% of scheduled outages notified in advance (at least 24 hours), not exceeding 12 hours a day, and with supply restored by 6 p.m. (summer) / 5 p.m. (winter) | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Quality of Service | Street-light fault rectification — share resolved within standard | At least 90% of street-light faults rectified within 6 hours of detection or complaint, whichever is earlier | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Quality of Service | Billing mistakes — faulty bills as share of bills issued | Bills requiring rectification following complaints not more than 0.1% of bills issued | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Quality of Service | Defective meters — share of meters in service | Defective meters not more than 5% of meters in service | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Quality & Reliability of Supply | System Average Interruption Duration Index (SAIDI) | No quantitative benchmark specified (target levels may be notified by the Commission annually under the regulation) | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Quality & Reliability of Supply | System Average Interruption Frequency Index (SAIFI) | No quantitative benchmark specified (target levels may be notified by the Commission annually under the regulation) | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Quality & Reliability of Supply | Momentary Average Interruption Frequency Index (MAIFI) | No quantitative benchmark specified (target levels may be notified by the Commission annually under the regulation) | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Quality & Reliability of Supply | Supply frequency outside ±3% of 50 Hz — number of hourly measurements | Licensee to endeavour to maintain supply frequency within ±3% of 50 Hz and report the number of hourly measurements outside this range; no numerical target specified | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Quality & Reliability of Supply | Supply voltage at point of supply outside limits — number of cases (EHT / HT / LT) | +6% / −6% (LV); +6% / −9% (HV); +10% / −12.5% (EHV) of declared voltage | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Safety | Fatal electrical accidents — humans | No quantitative benchmark specified | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Safety | Non-fatal electrical accidents — humans | No quantitative benchmark specified | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Safety | Fatal electrical accidents — animals | No quantitative benchmark specified | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TPWODL | FY 2025-26 | Safety | Non-fatal electrical accidents — animals | No quantitative benchmark specified | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.

## Source_Documentation
ID | Source type | Source file name | Document title | Issuing authority | Publication / FY | Page(s) | Section / table / annexure | Google Drive link | Source note
S1 | Regulatory | Odisha_Principal_Regulation_2004.pdf | Orissa Electricity Regulatory Commission (Licensees' Standards of Performance) Regulations, 2004, Notification No. OERC-Engg-94/2003, dated 21 May 2004 | Orissa Electricity Regulatory Commission | Orissa Gazette Extraordinary No. 711, 28 May 2004; in force from publication (Reg. 1(4)); applicable throughout FY 2025-26 as amended by S2 | p.2 (Regs. 1-2); p.3 (Regs. 2-4); pp.4-5 (Regs. 5-6); pp.5-6 (Regs. 8-12); pp.7-13 (Schedule I); pp.14-16 (Schedule II); pp.17-19 (Schedule III) | Regs. 1-12; Schedule I (Guaranteed Standards); Schedule II (Overall Standards, incl. 1.5 reliability-index formulas, p.15); Schedule III (compensation) | Not available: file supplied in the permitted repository without a Google Drive URL | Applicable regulation for FY 2025-26. Source of all overall standards, thresholds, reliability-index formulas (connected-load weighted) and the accident provision. No repeal or replacement located in the permitted repository. Re-checked for FY 2025-26: no repeal, replacement or later amendment located in the permitted repository.
S2 | Regulatory | Odisha_1st_Amendment_2010.pdf | Orissa Electricity Regulatory Commission (Licensee's Standard of Performance) (1st Amendment) Regulations, 2010, Notification No. OERC-Engg.-94/2003(Vol.-III)/5584, dated 16 December 2010 | Orissa Electricity Regulatory Commission | Notified 16 December 2010; in force from publication in the Official Gazette (gazette date not stated in the file); applicable throughout FY 2025-26 | pp.1-3 | Clauses 1-6: Reg. 3(2)-3(8) (call centres; definition of Urban Areas); new Reg. 8 (third-party audit); renumbering of Regs. 8-12 as 9-13; amended Reg. 9(1) (force majeure); new Schedule I clause 3.8 (temporary supply) | Not available: file supplied in the permitted repository without a Google Drive URL | Reviewed. Does not amend the Schedule II overall standards or the reliability-index formulas. Urban Areas definition (p.1) used to confirm that 'towns and cities' (S1) and 'urban areas' (S3) refer to the same area classification. Re-checked for FY 2025-26: no repeal, replacement or later amendment located in the permitted repository.
S3 | Reported performance | Not available | Performance of Electricity Distribution Companies in Odisha during the FY 2025-26: Achievement on Overall Standards of Performance (statement for this year not located) | Odisha Electricity Regulatory Commission (data furnished by the distribution licensees through affidavit) | FY 2025-26: not available | Not applicable | Not applicable | Not available: no FY 2025-26 statement located in the permitted repository | No Commission statement of TPWODL's reported performance for FY 2025-26 is in the permitted repository, and none was found in the connected Google Drive (searched by TPWODL, Overall Standards of Performance, OERC and 2025-26). No performance value has therefore been entered for this year. The statements for FY 2024-25 and earlier years are not used as evidence for FY 2025-26.

## Regulatory_Standards
Service / indicator | Area | Standard (original regulatory basis) | Source | Standard basis | Reporting format
Information on likely restoration time | All | Within 4 hours of complaint, on enquiry by the consumer | S1 Sch. I 1.1, p.7 | Event-level time standard | Not reported in S3
Normal fuse-off (supply restoration) | Urban / Rural | 6 hours (towns and cities); 24 hours (rural areas) from receipt of complaint (HG or LT fuses at the distribution transformer or consumer premises) | S1 Sch. I 1.2, p.7 | Event-level time standard | S3 p.1, rows 'Rectification of fuse-off call within 6 hrs. / 24 hrs.'
Normal fuse-off calls (overall) | All (total calls received) | Percentage of fuse-off calls rectified within the Schedule I time limits to total calls received not less than 90% | S1 Sch. II 1.1, p.14 (cross-refers to Sch. I sub-para 1.1; see Data_Quality_Flags) | Aggregate share threshold | S3 p.1, Urban and Rural rows; Commission's minimum target 90 shown for each area
Line breakdowns (supply restoration) | Urban / Rural | 12 hours (towns and cities); 24 hours (rural areas) from occurrence of breakdown; major breakdowns (heavy rain, lightning, whirlwind, needing conductor/structure replacement) 24 hours / 48 hours | S1 Sch. I 1.3, p.7 | Event-level time standard | S3 p.1 (measured 'of receiving the complaint')
Line breakdowns (overall) | Urban / Rural | Restoration within 12 hours (towns and cities) / 24 hours (rural areas) of occurrence of breakdown in at least 95% of cases | S1 Sch. II 1.2, p.14 | Aggregate share threshold | S3 p.1, Urban and Rural rows; minimum target 95
Distribution transformer failure (supply restoration) | Urban / Rural | Replacement within 24 hours (towns and cities); 48 hours (rural areas) of receiving the complaint | S1 Sch. I 1.4, p.7 | Event-level time standard | S3 p.1
Distribution transformer failures (overall) | All (total DTs failed) | Percentage of DTs replaced within the Schedule I time limits to total DTs failed not less than 95% | S1 Sch. II 1.3, p.14 | Aggregate share threshold | S3 p.1, Urban and Rural rows; minimum target 95
Scheduled outages | All | Notified at least 24 hours in advance; not more than 12 hours in a day; supply restored by 6 p.m. (summer) / 5 p.m. (winter) | S1 Sch. I 1.5, p.7 | Event-level | See next row
Scheduled outages (overall) | All | Both standards (duration and restoration time) achieved in at least 90% of cases | S1 Sch. II 1.4, p.14 | Aggregate share threshold | S3 p.1, row 'Completing the work within 12 hrs. of the scheduled outage before 5 PM/6 PM'; TPWODL 100.00; minimum target 90
Voltage variations | LV / HV / EHV | +6% / −6% (LV); +6% / −9% (HV); +10% / −12.5% (EHV) of declared voltage, at the point of commencement of supply; complaint: improve within 15 days (no network expansion), resolve within 120 days (up to 11 kV) / 180 days (up to 33 kV); intimate within 7 days if due to transmission | S1 Sch. I 2.1, p.8 | Point-of-supply limit; event-level complaint times | No FY 2025-26 reported value available; reporting row in earlier statements: 'No. of cases in which voltage at the point of commencement of supply exceeded 3% of the voltage limits' (EHT/HT/LT)
Harmonics | ≥132 kV / 33 kV / 11 kV consumers | THDv limited to 3% (132 kV and above), 8% (33 kV), 8% (11 kV) per Orissa Grid Code; Stage 1 effective on Commission order; Stages 2-3 dates to be set | S1 Sch. I 2.2, pp.8-9 | Point-of-supply limit (staged) | Not reported in S3
Meter complaints | All | Inspect within 7 working days; replace defective licensee meter within 30 days; burnt meter (not consumer-caused) within 30 working days; consumer-caused: notice within 7 days, replace within 15 days of payment | S1 Sch. I 2.3, p.9 | Event-level time standard | Not reported in S3
New connections / additional load | LT / HT / EHT | Notice within 3 days and estimate within one week (LT); feasibility 21/30 working days and estimate 60 working days (HT/EHT); supply within one month (no extension), 30/60/90 days (LT/11 kV/33 kV extension); temporary supply sanction within 3 days (Urban) / 7 days (Rural) | S1 Sch. I 3.1-3.7, pp.9-12; S2 cl. 6 (Sch. I 3.8), p.3 | Event-level time standard | Not reported in S3
Transfer of ownership and conversion of services | All | 15 days (title transfer, change of category); 30 / 60 / 90 days (LT 1-ph↔3-ph / LT↔11 kV / LT↔33 kV conversion) | S1 Sch. I 4, p.12 | Event-level time standard | Not reported in S3
Bill complaints and reconnection | All | Bill complaints resolved within 30 days; reconnection within 4 working hours of proof of payment | S1 Sch. I 5.1-5.2, p.13 | Event-level time standard | Not reported in S3
SAIFI / SAIDI / MAIFI | Licensee-wide 11 kV feeders excl. predominantly agricultural; agricultural feeders separately; urban / rural separately; monthly | Indices per IEEE 1366 (1998) computed with connected-load weighting: SAIFI = Σ(Ai×Ni) ÷ Nt; SAIDI = Σ(Bi×Ni) ÷ Nt; MAIFI = Σ(Ci×Ni) ÷ Nt (sustained > 5 minutes; momentary ≤ 5 minutes). No numeric target; the Commission may notify target levels annually | S1 Sch. II 1.5, pp.14-15 | None (target not available) | S3 p.1, annual values for TPWODL; target column blank
Supply frequency | All | Endeavour to maintain within ±3% of 50 Hz; hourly measurement; report number of events outside limits | S1 Sch. II 1.6, p.16 | No quantitative benchmark (reporting obligation) | S3 p.1; TPWODL '--'
Voltage unbalance | All | Not to exceed 3% at the point of commencement of supply; computation method to be specified separately | S1 Sch. II 1.7, p.16 | Point-of-supply limit | Not reported in S3
Street-light faults | All | Rectify line faults and restore street lights within 6 hours of detection or receipt of complaint, whichever is earlier, in at least 90% of cases | S1 Sch. II 1.8, p.16 | Aggregate share threshold | S3 p.1 (measured 'of receiving the complaint'); minimum target 90; TPWODL '--'
Billing mistakes | All | Percentage of bills requiring rectification following complaints to total bills issued not greater than 0.1% | S1 Sch. II 1.9, p.16 | Aggregate share ceiling | S3 p.1, row 'No. of faulty bills prepared as a percentage of total no. of bills issued'; minimum target column 0.1
Faulty meters | All | Percentage of defective meters to total meters in service not greater than 5% | S1 Sch. II 1.10, p.16 | Aggregate share ceiling | S3 p.1, row 'No. of faulty/defective meters as a percentage of total no. of existing meters'; minimum target column 5
Electrical accidents | All | Licensee to endeavour to minimise electrical accidents; increase or decrease over time is an indicator of performance. No numeric benchmark | S1 Sch. II 1.11, p.16 | No quantitative benchmark | No FY 2025-26 reported value available; reporting table in earlier statements: accident cases (fatal / non-fatal, human / animal)
Compensation to consumers | Urban / other areas | Schedule of compensation (Rs. 50 to Rs. 1,000 per case or per day of default; automatic or to be claimed) for failure to meet Guaranteed Standards | S1 Reg. 5; Sch. III, pp.17-19 | Compensation schedule | Not reported in S3
Reporting obligations | All | Guaranteed Standards: monthly reports within 15 days and annual report within 30 days of year-end. Overall Standards: quarterly reports within 15 days and annual report within 30 days of year-end | S1 Reg. 6(1)-6(4), pp.4-5 | Reporting basis | Only the Commission's consolidated annual statement (S3) is available
Force majeure exemption | All | Standards suspended during force majeure, including outages due to generation or transmission failure and outages initiated by NLDC / RLDC / SLDC | S1 Reg. 8(1) as renumbered and amended as Reg. 9(1) by S2 cl. 4-5, p.3 | Exemption | Application to reported values not stated in S3

## Definitions_Units
Indicator | Definition / formula | Dashboard unit | Reporting basis | Evidence | Note
Within-standard share (fuse-off, line breakdown, distribution transformer, scheduled outage, street light) | Cases rectified / restored / replaced within the Schedule I time limit ÷ total cases (calls received; DTs failed) × 100 | Percentage (%) | Annual (FY 2025-26), urban and rural reported separately for the first three parameters | S1 Sch. II 1.1-1.4, 1.8, p.14, p.16; S3 p.1 ('Achievement in %') | No FY 2025-26 value available. Definitions and units follow S1 and the labels of the earlier Commission statements; the clock-start difference for line breakdown and the scope difference for scheduled outage noted in earlier years cannot be re-verified without the FY 2025-26 statement.
Faulty-bill share | Bills requiring rectification following complaints ÷ total bills issued × 100 (S1); 'faulty bills prepared as a percentage of total no. of bills issued' (S3) | Percentage (%) | Annual | S1 Sch. II 1.9, p.16; S3 p.1 | No FY 2025-26 value available. Wording differs between S1 and S3 in earlier statements; see Data_Quality_Flags.
Defective-meter share | Defective meters ÷ total meters in service × 100 | Percentage (%) | Annual (point in the year not stated) | S1 Sch. II 1.10, p.16; S3 p.1 | No FY 2025-26 value available; unit and scale cannot be re-verified without the statement; see Data_Quality_Flags.
SAIDI | Σ(Bi×Ni) ÷ Nt; Bi = total duration of sustained interruptions on feeder i in the month; Ni = connected load of feeder i affected; Nt = total 11 kV connected load | Minutes per kW of connected load | Annual value (no FY 2025-26 value available) | S1 Sch. II 1.5, p.15 (formula; duration unit not stated); S3 p.1 ('Total duration of interruption in minutes each 1 KW connected load (SAIDI)(Minutes)') | Connected-load weighted, not consumer weighted; not directly comparable with consumer-weighted indices of other states.
SAIFI | Σ(Ai×Ni) ÷ Nt; Ai = number of sustained interruptions (each longer than 5 minutes) on feeder i in the month | Interruptions per kW of connected load | Annual value (no FY 2025-26 value available) | S1 Sch. II 1.5, p.15; S3 p.1 ('Total no. of interruption each lasting more than 5 minutes faced by 1 KW connected load (SAIFI)(Nos.)') | Unit derived from formula: (count × kW) ÷ kW = count per unit of connected load; S3 states '(Nos.)' per 1 kW.
MAIFI | Σ(Ci×Ni) ÷ Nt; Ci = number of momentary interruptions (each less than or equal to 5 minutes) on feeder i in the month | Momentary interruptions per kW of connected load | Annual value (no FY 2025-26 value available) | S1 Sch. II 1.5, p.15; S3 p.1 ('... each lasting less than 5 minutes faced by 1 KW connected load (MAIFI)(Nos.)') | S1 momentary threshold '≤ 5 minutes'; S3 label 'less than 5 minutes'.
Supply-frequency excursions | Number of hourly measurements with supply frequency outside ±3% of 50 Hz | Number of hourly measurements (count) | Not reported | S1 Sch. II 1.6, p.16; S3 p.1 | No value reported.
Voltage cases outside limits | Number of cases in which voltage at the point of commencement of supply exceeded the limits (S3 wording: 'exceeded 3% of the voltage limits'; FY 2021-22 wording also cited 'I.E. Rules, 1956') | Number of cases (unit not established) | No FY 2025-26 value available | S1 Sch. I 2.1, p.8; S3 p.1 | Unit as labelled in earlier statements ('No. of cases'); not re-verified for FY 2025-26. S1, S2 and the earlier statements give no further reporting instruction.
Electrical accidents (fatal / non-fatal; human / animal) | Number of accident cases in the year | Number of accidents (count) | Annual | S3 p.1 ('No. of accident cases'); S1 Sch. II 1.11, p.16 | No FY 2025-26 value available. Prior-year (FY 2024-25) counts held in Calculations > Accidents.

## Source_Gaps
Item | Gap (as of Pass 1) | Follow-up
FY 2025-26 performance statement | No Commission statement of TPWODL's reported performance for FY 2025-26 (the equivalent of S3 for earlier years) was found in the permitted repository or in the connected Google Drive. All 16 performance values are therefore missing. | Obtain the FY 2025-26 statement and rerun this financial year.
Amendments / replacement regulation | Only the 1st Amendment (2010, S2) was found. No later amendment, replacement regulation or Commission order under Reg. 4(3) altering Schedules I-II was found in the repository; applicability of S1 as amended by S2 to FY 2025-26 rests on that basis. | Pass 2: confirm whether any amendment, replacement or Reg. 4(3) order was in force during FY 2025-26.
Reliability targets | No Commission notification of target levels for SAIFI / SAIDI / MAIFI (S1 Sch. II 1.5(ii)) applicable to FY 2025-26 was found; the S3 target column is blank for these rows. | Pass 2: search OERC orders for reliability targets.
Licensee's own SoP returns | TPWODL's monthly Guaranteed Standards reports and quarterly / annual Overall Standards reports (S1 Reg. 6) are not in the repository; only the Commission's consolidated annual statement (S3) is available. Case counts behind the reported shares are therefore unavailable. | Pass 2: locate TPWODL SoP returns for FY 2025-26.
Guaranteed Standards performance | S3 Note 1 states that Guaranteed Standards information is available on the OERC and licensee websites; no such document is in the repository. | Pass 2: obtain Guaranteed Standards performance for FY 2025-26.
Reliability-index disaggregation | S1 requires monthly indices, urban/rural segregation and separate indices for predominantly agricultural feeders; only single annual values are reported, and whether agricultural feeders are excluded is not stated. | Pass 2: locate monthly and disaggregated indices.
Frequency, street-light and voltage values | No FY 2025-26 value is available for any indicator. | Pass 2: check licensee returns.
Voltage unbalance and harmonics | No reported values for S1 Sch. II 1.7 (voltage unbalance) or Sch. I 2.2 (harmonics); Commission orders setting the harmonics stage dates were not found. | Pass 2: locate data and orders.
Compensation records | No data on compensation paid under S1 Reg. 5 / Sch. III. | Pass 2: locate compensation data.
Referenced instruments | Orissa Grid Code (harmonics), OERC Distribution (Conditions of Supply) Code, 2004 (meters, new connections), Indian Electricity Rules, 1956 (S3 voltage row; S1 Sch. II 1.6) and the Government of Orissa rural-areas notification of 30 March 2005 (S2) are not in the repository. | Pass 2: obtain if needed for definitions.
S2 gazette date | S2 states it comes into force on publication in the Official Gazette; the gazette date is not in the file. | Pass 2: confirm publication date (before FY 2025-26 in any case, as notified December 2010).
DISCOM full name | The permitted sources identify the licensee only as 'TPWODL' (and the website tpwesternodisha.com); the full registered name is not stated. | Pass 2: confirm full name and update the DISCOM field.
Drive links | Files were supplied without Google Drive URLs; the connected Google Drive was searched and holds no TPWODL or OERC documents. Link fields are recorded as not available. | Add Drive links when available.
Unit of voltage-case value | No FY 2025-26 voltage value is available. In earlier years the HT value was 1.5 (FY 2022-23), 9 (FY 2023-24) and 0.08 (FY 2024-25), and no source explains the reported basis. | Pass 2: locate the licensee return or Commission reporting format.
Scale of billing and meter shares | No FY 2025-26 value is available. Earlier statements show faulty-bill and defective-meter shares varying by orders of magnitude between years, and no licensee return explaining the scale is in the repository. | Pass 2: check licensee returns.

## Data_Quality_Flags
Item | Observation | Treatment
Missing performance data | No FY 2025-26 TPWODL performance statement is available; all 16 indicators carry no value. | Reported data: 'No value reported for FY 2025-26.'; comparison marked not possible; Standard met? = N/A.
Standards | Standards are taken from S1 as amended by S2 and are unchanged; no later amendment located. | Standard column populated for all 16 rows.
Earlier-year observations | Earlier statements flagged: distribution-transformer area shares on different sides of the threshold (FY 2023-24, FY 2024-25); fractional HT voltage values; billing and meter share scale; line-breakdown clock start; scheduled-outage scope. | Not carried into FY 2025-26 as evidence; to be re-verified when the statement is obtained.
Definitions | Voltage-row wording, momentary-interruption threshold, billing wording, area terminology and the Sch. II 1.1 cross-reference follow S1 and earlier statements. | Not re-verified against a FY 2025-26 statement.

## Review_Items
Item | Summary | Reason held for review
FY 2025-26 statement | No FY 2025-26 performance statement is available, so every row is marked not comparable. | Rerun the year when the statement is obtained.
Distribution-transformer and line-breakdown comparability | Treatments applied in FY 2023-24 and FY 2024-25 (aggregate share not determinable when area shares straddle the threshold; clock-start difference for line breakdown) will need to be re-applied to the new data. | Decide on receipt of data.
Voltage-case unit and billing / meter scale | Unresolved in earlier years (fractional HT value; share scale). | Re-verify when data is available.
CAIDI | Not specified in S1 and not reported in earlier statements. | Not included in the main dataset.
Guaranteed Standards and compensation | Schedule I event-level standards and Schedule III compensation have no reported data in the repository. | Source gap.

## Conventions
Convention | Rule
Category convention | Supply-restoration and fault-rectification shares, billing mistakes and defective meters = Quality of Service; reliability indices, supply frequency and supply voltage = Quality & Reliability of Supply; accidents = Safety.
Indicator naming | '<Service> — share resolved within standard' for time-limited restoration parameters; '<Parameter> — <ratio>' for ratio standards; reliability indices use the full name with abbreviation; accidents follow 'Fatal / Non-fatal electrical accidents — humans / animals'.
Urban / rural | Where the standard and the reported data distinguish urban and rural areas, both appear in one row: area shares in Reported data; the combined FY share in the annualised field only where it can be derived without case counts (both area shares equal).
Percentages | One decimal place in the annualised field, e.g., 100.0%; Reported data retain source precision (e.g., 100.00%, 96.39%). Exception: faulty-bill and defective-meter shares are kept at source precision (0.00%, 0.05%) because one-decimal rounding would show 0.0% or 0.1% and obscure the value.
Indices | SAIDI in minutes, SAIFI in interruptions and MAIFI in momentary interruptions, each per kW of connected load (connected-load weighting per S1). Values are reported as annual whole numbers and are presented at source precision rather than two decimals.
FY notation | 'FY 2025-26' (April 2025 to March 2026).
Reported data | Final metric or concise series only, preserving the annual reporting basis and the urban/rural split; 'No value reported for FY 2025-26.' where the source shows '--'.
Annualised field | 'FY <metric>: <value>.'; 'Not annualised: no reported value.' where no value is reported; 'Not annualised: case counts required to combine the urban and rural shares are not reported.' where area shares differ and no counts are available; 'FY HT value: <value>; LT value: <value> (unit not established).' for the voltage row.
Comparison rule | Comparison possible? = No => Standard met? = N/A, without exception. Yes only where definition, unit, period, area and aggregation level align and the result can be determined on the original regulatory basis (aggregate share over total cases); where urban and rural shares fall on different sides of the threshold and case counts are unavailable the result cannot be determined and the row is marked No.
Reference workbooks | TPWODL FY 2024-25 dashboard and calculations workbooks used as the primary template for format, naming, units, precision and structure; UGVCL FY 2024-25 workbooks as the wider dashboard reference. Neither used as evidence.