## Main
State | DISCOM | Financial year | Indicator category | Indicator | Standard | Reported data | Annualised / standardised reported data | Comparison possible? | Standard met? | If comparison is not possible, why? | Interpretation | Documentation of standardisation / transformation
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Quality of Service | Normal fuse-off call rectification — share resolved within standard | At least 90% of fuse-off calls rectified within 6 hours (Urban) / 24 hours (Rural) of complaint | Within-standard share (FY, annual reporting): Urban 100.00%; Rural 100.00%. | FY within-standard share: 100.0%. | Yes | Yes | Not applicable. | Performance met the applicable regulatory standard. | FY share for urban and rural areas combined derived from the two reported area shares, which are both 100.00%, so the result does not depend on the unreported case counts; reported on an annual basis, so no annualisation was required.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Quality of Service | Line breakdown restoration — share resolved within standard | At least 95% of line breakdowns restored within 12 hours (Urban) / 24 hours (Rural) of occurrence of the breakdown | Within-standard share (FY, annual reporting; time measured from receipt of complaint): Urban 100.00%; Rural 100.00%. | FY within-standard share (time measured from receipt of complaint): 100.0%. | No | N/A | The standard measures restoration time from the occurrence of the breakdown, while the reported share measures it from receipt of the complaint, which may be later; the reported share therefore does not measure performance against the regulatory time limit. | Direct comparison is not possible because the regulatory standard and reported performance use different measurement bases. | FY share for urban and rural areas combined derived from the two reported area shares, which are both 100.00%, so the result does not depend on the unreported case counts; reported on an annual basis, so no annualisation was required.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Quality of Service | Distribution transformer failure restoration — share resolved within standard | At least 95% of failed distribution transformers replaced within 24 hours (Urban) / 48 hours (Rural) of complaint | Within-standard share (FY, annual reporting): Urban 100.00%; Rural 100.00%. | FY within-standard share: 100.0%. | Yes | Yes | Not applicable. | Performance met the applicable regulatory standard. | FY share for urban and rural areas combined derived from the two reported area shares, which are both 100.00%, so the result does not depend on the unreported case counts; reported on an annual basis, so no annualisation was required.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Quality of Service | Scheduled outage restoration — share resolved within standard | At least 90% of scheduled outages notified in advance (at least 24 hours), not exceeding 12 hours a day, and with supply restored by 6 p.m. (summer) / 5 p.m. (winter) | No value reported for FY 2021-22. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2021-22. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Quality of Service | Street-light fault rectification — share resolved within standard | At least 90% of street-light faults rectified within 6 hours of detection or complaint, whichever is earlier | Within-standard share (FY, annual reporting; time measured from receipt of complaint): 90%. | FY within-standard share (time measured from receipt of complaint): 90.0%. | No | N/A | The standard measures rectification time from detection of the fault or receipt of the complaint, whichever is earlier, while the reported share measures it from receipt of the complaint only. | Direct comparison is not possible because the regulatory standard and reported performance use different measurement bases. | None
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Quality of Service | Billing mistakes — faulty bills as share of bills issued | Bills requiring rectification following complaints not more than 0.1% of bills issued | Faulty bills as a share of bills issued (FY, annual reporting): 0.10%. | FY faulty-bill share: 0.10%. | Yes | Yes | Not applicable. | Performance met the applicable regulatory standard; the reported value equals the regulatory limit. | None
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Quality of Service | Defective meters — share of meters in service | Defective meters not more than 5% of meters in service | Defective meters as a share of meters in service (FY, annual reporting): 5%. | FY defective-meter share: 5.0%. | Yes | Yes | Not applicable. | Performance met the applicable regulatory standard; the reported value equals the regulatory limit. | None
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Quality & Reliability of Supply | System Average Interruption Duration Index (SAIDI) | No quantitative benchmark specified (target levels may be notified by the Commission annually under the regulation) | Annual SAIDI (minutes per kW of connected load): 25,441. | FY SAIDI: 25,441 minutes per kW of connected load. | No | N/A | No quantitative reliability target applicable to FY 2021-22 is available; the regulation provides for the Commission to notify target levels annually. In addition, the regulation requires the indices to be computed monthly and reported separately for urban and rural feeders, while only a single annual value is reported, without monthly, urban/rural or agricultural-feeder disaggregation. | No quantitative regulatory benchmark is specified for direct comparison. | None
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Quality & Reliability of Supply | System Average Interruption Frequency Index (SAIFI) | No quantitative benchmark specified (target levels may be notified by the Commission annually under the regulation) | Annual SAIFI (interruptions per kW of connected load): 600. | FY SAIFI: 600 interruptions per kW of connected load. | No | N/A | No quantitative reliability target applicable to FY 2021-22 is available; the regulation provides for the Commission to notify target levels annually. In addition, the regulation requires the indices to be computed monthly and reported separately for urban and rural feeders, while only a single annual value is reported, without monthly, urban/rural or agricultural-feeder disaggregation. | No quantitative regulatory benchmark is specified for direct comparison. | None
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Quality & Reliability of Supply | Momentary Average Interruption Frequency Index (MAIFI) | No quantitative benchmark specified (target levels may be notified by the Commission annually under the regulation) | Annual MAIFI (momentary interruptions per kW of connected load): 66. | FY MAIFI: 66 momentary interruptions per kW of connected load. | No | N/A | No quantitative reliability target applicable to FY 2021-22 is available; the regulation provides for the Commission to notify target levels annually. In addition, the regulation requires the indices to be computed monthly and reported separately for urban and rural feeders, while only a single annual value is reported, without monthly, urban/rural or agricultural-feeder disaggregation. | No quantitative regulatory benchmark is specified for direct comparison. | None
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Quality & Reliability of Supply | Supply frequency outside ±3% of 50 Hz — number of hourly measurements | Licensee to endeavour to maintain supply frequency within ±3% of 50 Hz and report the number of hourly measurements outside this range; no numerical target specified | No value reported for FY 2021-22. | Not annualised: no reported value. | No | N/A | The regulation does not specify a quantitative benchmark for the number of supply-frequency excursions, and no reported value is available for FY 2021-22. | No quantitative regulatory benchmark is specified for direct comparison. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Quality & Reliability of Supply | Supply voltage at point of supply outside limits — number of cases (EHT / HT / LT) | +6% / −6% (LV); +6% / −9% (HV); +10% / −12.5% (EHV) of declared voltage | No value reported for FY 2021-22 (EHT, HT or LT). | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2021-22. In addition, the standard applies to the voltage at each consumer's point of supply, and no aggregate threshold for the number of cases outside the limits is specified. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Safety | Fatal electrical accidents — humans | No quantitative benchmark specified | Number of accidents (FY): 2. | FY fatal human accidents: 2. | No | N/A | The applicable regulation does not specify a quantitative benchmark for the number of electrical accidents; it identifies the change in the number of accidents over time as an indicator of performance, without a target. | No quantitative regulatory benchmark is specified for direct comparison. | None
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Safety | Non-fatal electrical accidents — humans | No quantitative benchmark specified | Number of accidents (FY): 16. | FY non-fatal human accidents: 16. | No | N/A | The applicable regulation does not specify a quantitative benchmark for the number of electrical accidents; it identifies the change in the number of accidents over time as an indicator of performance, without a target. | No quantitative regulatory benchmark is specified for direct comparison. | None
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Safety | Fatal electrical accidents — animals | No quantitative benchmark specified | Number of accidents (FY): 53. | FY fatal animal accidents: 53. | No | N/A | The applicable regulation does not specify a quantitative benchmark for the number of electrical accidents; it identifies the change in the number of accidents over time as an indicator of performance, without a target. | No quantitative regulatory benchmark is specified for direct comparison. | None
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2021-22 | Safety | Non-fatal electrical accidents — animals | No quantitative benchmark specified | Number of accidents (FY): 0. | FY non-fatal animal accidents: 0. | No | N/A | The applicable regulation does not specify a quantitative benchmark for the number of electrical accidents; it identifies the change in the number of accidents over time as an indicator of performance, without a target. | No quantitative regulatory benchmark is specified for direct comparison. | None
Note on B2: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B3: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B4: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B5: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B6: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B7: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B8: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B9: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B10: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B11: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B12: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B13: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B14: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B15: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B16: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.
Note on B17: DISCOM field now gives the registered name with its abbreviation, the form used in the dashboard reference workbook (e.g., 'Uttar Gujarat Vij Company Ltd. (UGVCL)'). Name taken from the TPWODL licence conditions, cl. 1.1 and 3.3(x). Source: S9 in Source_Documentation.

## Source_Documentation
ID | Source type | Source file name | Document title | Issuing authority | Publication / FY | Page(s) | Section / table / annexure | Google Drive link | Source note | Web URL | Sources folder: additional upload required?
S1 | Regulatory | Odisha_Principal_Regulation_2004.pdf | Orissa Electricity Regulatory Commission (Licensees' Standards of Performance) Regulations, 2004, Notification No. OERC-Engg-94/2003, dated 21 May 2004 | Orissa Electricity Regulatory Commission | Orissa Gazette Extraordinary No. 711, 28 May 2004; in force from publication (Reg. 1(4)); applicable throughout FY 2021-22 as amended by S2 | p.2 (Regs. 1-2); p.3 (Regs. 2-4); pp.4-5 (Regs. 5-6); pp.5-6 (Regs. 8-12); pp.7-13 (Schedule I); pp.14-16 (Schedule II); pp.17-19 (Schedule III) | Regs. 1-12; Schedule I (Guaranteed Standards); Schedule II (Overall Standards, incl. 1.5 reliability-index formulas, p.15); Schedule III (compensation) | Not available: file supplied in the permitted repository without a Google Drive URL | Applicable regulation for FY 2021-22. Source of all overall standards, thresholds, reliability-index formulas (connected-load weighted) and the accident provision. No repeal or replacement located in the permitted repository. Applicability for FY 2021-22 re-checked on OERC listings (S11, S12): the regulation appears among current regulations with one amendment (S2) and no later final amendment. An OERC notice dated 22 September 2022 (S6) says the regulations still required amendment because of the Electricity (Rights of Consumers) Rules, 2020 (S5), which indicates they had not been replaced by then. Draft amendments (2019, 2025) are not final and were not used (see Source_Gaps). | OERC (old site) copy: Licensees' Standards of Performance Regulations, 2004 | No. Supplied repository file (Odisha_Principal_Regulation_2004.pdf); presumed already in the Sources folder, which could not be inspected. The web URL is a second copy for reference only.
S2 | Regulatory | Odisha_1st_Amendment_2010.pdf | Orissa Electricity Regulatory Commission (Licensee's Standard of Performance) (1st Amendment) Regulations, 2010, Notification No. OERC-Engg.-94/2003(Vol.-III)/5584, dated 16 December 2010 | Orissa Electricity Regulatory Commission | Notified 16 December 2010; in force from publication in the Official Gazette (gazette date not stated in the file); applicable throughout FY 2021-22; Gazette No. 313 dated 04-02-2011 (per OERC regulations listing, S12) | pp.1-3 | Clauses 1-6: Reg. 3(2)-3(8) (call centres; definition of Urban Areas); new Reg. 8 (third-party audit); renumbering of Regs. 8-12 as 9-13; amended Reg. 9(1) (force majeure); new Schedule I clause 3.8 (temporary supply) | Not available: file supplied in the permitted repository without a Google Drive URL | Reviewed. Does not amend the Schedule II overall standards or the reliability-index formulas. Urban Areas definition (p.1) used to confirm that 'towns and cities' (S1) and 'urban areas' (S3) refer to the same area classification. | OERC copy: Licensee's Standard of Performance (1st Amendment) Regulations, 2010 | No. Supplied repository file (Odisha_1st_Amendment_2010.pdf); presumed already in the Sources folder, which could not be inspected.
S3 | Reported performance | Overall_Standards_of_Performance.pdf | Performance of Electricity Distribution Companies in Odisha during the FY 2021-22 (as reported and furnished through an affidavit): Achievement on Overall Standards of Performance | Odisha Electricity Regulatory Commission (data furnished by the distribution licensees through affidavit) | FY 2021-22 (annual values; accident counts also shown for FY 2020-21) | p.1 (single page) | Single table; TPWODL column ('For the year 2021-22'); column 'Minimum % target fixed by the Commission'; accident table (20-21 / 21-22); Notes 1-2 | Not available: file supplied in the permitted repository without a Google Drive URL | Reported annual performance for TPWODL. SAIFI/MAIFI unit '(Nos.)' and SAIDI unit '(Minutes)' stated in the parameter labels, each 'faced by 1 KW connected load'; weighting confirmed against S1 Schedule II formulas. Document metadata indicates conversion from a spreadsheet. TPWODL values in the supplied file agree with a public copy of the statement hosted on a licensee website (S3 web URL); no OERC-hosted original was located. The public copy shows no issue date or reference number. | Public copy of the same statement (hosted on TPSODL's website) | No. Supplied repository file (Overall_Standards_of_Performance.pdf) holds the reported values; presumed already in the Sources folder, which could not be inspected. The web URL is a duplicate and is not needed.
S4 | Reported performance | Web source: PerfomanceTPWODLuptoMar2022.pdf | Record Note of Annual Performance Review of TPWODL up to March 2022 | Odisha Electricity Regulatory Commission | FY 2021-22 (review up to March 2022) | Item 10 (page not established) | Item 10: SAIFI and SAIDI of TPWODL | Not available: web source; not yet uploaded to the permitted Drive repository | Gives TPWODL SAIFI 600 and SAIDI 424 with no unit printed. SAIFI equals S3; 424 equals S3 SAIDI of 25,441 minutes divided by 60 (424.0), which is consistent with minutes in S3 and hours in this note. No MAIFI, voltage or accident data. Used as a cross-check only. | OERC record note (PDF) | YES. Substantiates the SAIFI (600) and SAIDI (424 hours = 25,441 minutes) cross-check that supports the unit of the SAIDI row. Direct PDF link in column K.
S5 | Regulatory | Web source: Gazette_Electricity-Rights-of-Consumers-Rules-2020 | The Electricity (Rights of Consumers) Rules, 2020 | Ministry of Power, Government of India | G.S.R. 818(E), 31 December 2020; in force on publication | Not established | Rule 10(1) (reliability parameters incl. SAIDI, SAIFI to be specified by the Commission); Rule 12 (Commission to notify standards of performance); Rule 5(13)(c) (meter replacement ceilings) | Not available: web source; not yet uploaded to the permitted Drive repository | Final central rules. They require the State Commission to specify reliability parameters and standards of performance; no OERC instrument under Rule 10(1) was located, so the reliability benchmark stays unresolved. The Rule 5(13)(c) ceilings (24 hours urban, 72 hours rural for replacing defective meters) concern an event-level standard that is not a dashboard indicator; no Standard text was changed. Copy hosted by the Maharashtra Electricity Regulatory Commission; an official gazette hosting page was not located. | Gazette copy hosted by MERC (PDF) | YES. Substantiates the statement in the SAIDI / SAIFI / MAIFI Standard cells that no Commission-specified reliability benchmark is available (Rule 10 requires the Commission to specify one). Direct PDF link (copy hosted by MERC; no official gazette page located).
S6 | Regulatory (applicability evidence) | Web source: OERC public notice and EoI | OERC public notice and Expression of Interest: Consultancy for framing draft Distribution (Conditions of Supply) Code and draft Licensees' Standards of Performance Regulations | Odisha Electricity Regulatory Commission | 22 September 2022 | Not established | Terms of Reference | Not available: web source; not yet uploaded to the permitted Drive repository | Not a regulation. Used only as evidence that the 2004 regulations (as amended in 2010) had not been replaced by September 2022: it states that they 'require amendment because of the Electricity (Rights of Consumers) Rules, 2020'. | OERC notice and EoI (PDF) | YES. Substantiates the applicability of the 2004 regulation, as amended, to FY 2021-22 (not replaced by September 2022). Direct PDF link in column K.
S7 | Regulatory | Web source: Compensation to Victims of Electrical Accidents.pdf | OERC (Compensation to Victims of Electrical Accidents) Regulation, 2020 | Odisha Electricity Regulatory Commission | 2020; in force on publication in the Odisha Gazette (cl. 1.4) | Not established | Cls. 9-12 (accident reports, enquiry, monthly return to the Commission) | Not available: web source; not yet uploaded to the permitted Drive repository | Listed as a gazette notification on the OERC old-site regulations page (S12); the document itself states neither a gazette number nor a date, so its legal status rests on that listing. Used only for the reporting basis of accident records (occurrence report within 24 hours, monthly return to the Commission by the 15th of the next month). It does not define fatal or non-fatal accidents and sets no benchmark for the number of accidents. | OERC copy (PDF) | YES. Substantiates the reporting basis of the four accident rows (clauses 9 and 12: occurrence reports and monthly returns). Direct PDF link in column K.
S8 | Regulatory | Web source: Supply Code, 2019 with Gazette.pdf | Odisha Electricity Regulatory Commission Distribution (Conditions of Supply) Code, 2019 | Odisha Electricity Regulatory Commission | Notification No. OERC/Engg/92/2003(Vol-VII)/1210, 27 August 2019; Gazette No. 1927, 11 October 2019 (per S12) | Not established | Cl. 1.6 (supersedes the 2004 Code); cl. 2.2(69) (voltage variation refers to CEA regulations) | Not available: web source; not yet uploaded to the permitted Drive repository | Supersedes the 2004 Supply Code referred to in S1. Only part of the document was read (to about clause 94); no billing, meter-replacement or street-light timeline was located in that part, and no benchmark or unit used in the workbooks depends on it. Amendments listed on S11 are dated November 2023 onwards and do not apply to FY 2021-22. | OERC copy (PDF) | No. Consulted only; no value, standard or unit in the final Main sheet depends on it.
S9 | Licence | Web source: TPWODL_Licence Condition-Final.pdf | Conditions of the distribution and retail supply licence of TP Western Odisha Distribution Limited (TPWODL) | Odisha Electricity Regulatory Commission | Conditions effective 1 January 2021 (cl. 1.1); 25 years (cl. 4.1); amending order No. OERC/Engg./2/2021/409 dated 26 March 2021 | Not established | Cls. 1.1, 3.3(x), 20.6-20.9 | Not available: web source; not yet uploaded to the permitted Drive repository | Confirms the registered name and that the licence applies for the whole of FY 2021-22. Cls. 20.6-20.9 require an annual performance report and compliance with Performance Standards; no SAIFI or SAIDI target appears. | OERC copy of licence conditions (PDF) | No. Used solely to establish the DISCOM's name.
S10 | Reported performance | Web source: Overall Performance of DISCOMs 2020-21.pdf | Performance of Electricity Distribution Companies in Odisha during the FY 2020-21: Achievement on Overall Standards of Performance | Odisha Electricity Regulatory Commission | FY 2020-21 (accident table also shows FY 2019-20) | p.1 | TPWODL column; accident table | Not available: web source; not yet uploaded to the permitted Drive repository | Used only to cross-check the FY 2020-21 accident counts printed in S3 and to see that the street-light (90), faulty-bill (0.10) and defective-meter (5) values were also reported for FY 2020-21. Hosted on a licensee website. | Public copy of FY 2020-21 statement (PDF) | No. Cross-check of prior-year counts and of the meter-share scale only; the final Main sheet does not depend on it.
S11 | Regulatory listing | Web page: OERC current regulations (CGRF and Distribution Licensee Obligation) | OERC Current Regulations: CGRF & Distribution Licensee Obligation | Odisha Electricity Regulatory Commission | Page consulted October 2026 | Not applicable | Listing | Not available: web source; not yet uploaded to the permitted Drive repository | Lists the Licensees' Standards of Performance Regulations, 2004 with the 2010 amendment, and the Supply Code 2019 with amendments dated November 2023, January 2024 and November 2024 (after FY 2021-22). Lists no other amendment to the standards of performance regulations. | OERC regulations page | YES (hosting page; no direct document link exists for a listing page). Substantiates that no later final amendment to the 2004 regulation was listed by OERC.
S12 | Regulatory listing | Web page: OERC old-site regulations listing | OERC old-site regulations page | Odisha Electricity Regulatory Commission | Page consulted October 2026 | Not applicable | Listing | Not available: web source; not yet uploaded to the permitted Drive repository | Gives Gazette No. 313 dated 04-02-2011 for the 2010 amendment, Gazette No. 1927 dated 11 October 2019 for the Supply Code 2019, and lists the 2020 accident-compensation regulation as a gazette notification. Lists no regulation notified in 2021 or 2022. | OERC old-site regulations page | YES (hosting page; no direct document link exists for a listing page). Substantiates the gazette number and date of the 2010 amendment and the absence of other listed amendments.
Note on J2: Applicability evidence added from OERC listings and the 22 Sep 2022 OERC notice (S6, S11, S12). Drafts excluded.
Note on K2: Direct web copy of S1 added so the document can be uploaded to Drive. Notification no. OERC-Engg-94/2003, 21 May 2004, Orissa Gazette Extraordinary No. 711 (28 May 2004) confirmed on the document.
Note on L2: Final Sources-folder check against the completed Main sheet. Existing folder contents could not be inspected (see Source_Gaps).
Note on F3: Gazette number and date added from the OERC old-site regulations listing (S12), which resolves the gap recorded in Source_Gaps. The amendment document itself does not state them.
Note on K3: Direct OERC-hosted copy of S2; notification no. OERC-Engg.-94/2003(Vol.-III)/5584 dated 16 Dec 2010 confirmed. The document itself gives no gazette number.
Note on L3: Final Sources-folder check against the completed Main sheet. Existing folder contents could not be inspected (see Source_Gaps).
Note on J4: Cross-check of reported values against a second copy; hosting limitation recorded.
Note on K4: Web copy of the statement used to cross-check every TPWODL value (OSoP_Reported, columns J-L in the calculations workbook). An OERC-hosted original was not located, so the hosting limitation is recorded in the source note.
Note on L4: Final Sources-folder check against the completed Main sheet. Existing folder contents could not be inspected (see Source_Gaps).
Note on A5: New source (S4) added; supports the changes noted in Main, Source_Gaps, Definitions_Units and the calculations workbook.
Note on L5: Final Sources-folder check against the completed Main sheet. Existing folder contents could not be inspected (see Source_Gaps).
Note on A6: New source (S5) added; supports the changes noted in Main, Source_Gaps, Definitions_Units and the calculations workbook.
Note on L6: Final Sources-folder check against the completed Main sheet. Existing folder contents could not be inspected (see Source_Gaps).
Note on A7: New source (S6) added; supports the changes noted in Main, Source_Gaps, Definitions_Units and the calculations workbook.
Note on L7: Final Sources-folder check against the completed Main sheet. Existing folder contents could not be inspected (see Source_Gaps).
Note on A8: New source (S7) added; supports the changes noted in Main, Source_Gaps, Definitions_Units and the calculations workbook.
Note on L8: Final Sources-folder check against the completed Main sheet. Existing folder contents could not be inspected (see Source_Gaps).
Note on A9: New source (S8) added; supports the changes noted in Main, Source_Gaps, Definitions_Units and the calculations workbook.
Note on L9: Final Sources-folder check against the completed Main sheet. Existing folder contents could not be inspected (see Source_Gaps).
Note on A10: New source (S9) added; supports the changes noted in Main, Source_Gaps, Definitions_Units and the calculations workbook.
Note on L10: Final Sources-folder check against the completed Main sheet. Existing folder contents could not be inspected (see Source_Gaps).
Note on A11: New source (S10) added; supports the changes noted in Main, Source_Gaps, Definitions_Units and the calculations workbook.
Note on L11: Final Sources-folder check against the completed Main sheet. Existing folder contents could not be inspected (see Source_Gaps).
Note on A12: New source (S11) added; supports the changes noted in Main, Source_Gaps, Definitions_Units and the calculations workbook.
Note on L12: Final Sources-folder check against the completed Main sheet. Existing folder contents could not be inspected (see Source_Gaps).
Note on A13: New source (S12) added; supports the changes noted in Main, Source_Gaps, Definitions_Units and the calculations workbook.
Note on L13: Final Sources-folder check against the completed Main sheet. Existing folder contents could not be inspected (see Source_Gaps).

## Regulatory_Standards
Service / indicator | Area | Standard (original regulatory basis) | Source | Standard basis | Reporting format
Information on likely restoration time | All | Within 4 hours of complaint, on enquiry by the consumer | S1 Sch. I 1.1, p.7 | Event-level time standard | Not reported in S3
Normal fuse-off (supply restoration) | Urban / Rural | 6 hours (towns and cities); 24 hours (rural areas) from receipt of complaint (HG or LT fuses at the distribution transformer or consumer premises) | S1 Sch. I 1.2, p.7 | Event-level time standard | S3 p.1, rows 'Rectification of fuse-off call within 6 hrs. / 24 hrs.'
Normal fuse-off calls (overall) | All (total calls received) | Percentage of fuse-off calls rectified within the Schedule I time limits to total calls received not less than 90% | S1 Sch. II 1.1, p.14 (cross-refers to Sch. I sub-para 1.1; see Data_Quality_Flags) | Aggregate share threshold | S3 p.1, Urban and Rural rows; Commission's minimum target 90 shown for each area
Line breakdowns (supply restoration) | Urban / Rural | 12 hours (towns and cities); 24 hours (rural areas) from occurrence of breakdown; major breakdowns (heavy rain, lightning, whirlwind, needing conductor/structure replacement) 24 hours / 48 hours | S1 Sch. I 1.3, p.7 | Event-level time standard | S3 p.1 (measured 'of receiving the complaint')
Line breakdowns (overall) | Urban / Rural | Restoration within 12 hours (towns and cities) / 24 hours (rural areas) of occurrence of breakdown in at least 95% of cases | S1 Sch. II 1.2, p.14 | Aggregate share threshold | S3 p.1, Urban and Rural rows; minimum target 95
Distribution transformer failure (supply restoration) | Urban / Rural | Replacement within 24 hours (towns and cities); 48 hours (rural areas) of receiving the complaint | S1 Sch. I 1.4, p.7 | Event-level time standard | S3 p.1
Distribution transformer failures (overall) | All (total DTs failed) | Percentage of DTs replaced within the Schedule I time limits to total DTs failed not less than 95% | S1 Sch. II 1.3, p.14 | Aggregate share threshold | S3 p.1, Urban and Rural rows; minimum target 95
Scheduled outages | All | Notified at least 24 hours in advance; not more than 12 hours in a day; supply restored by 6 p.m. (summer) / 5 p.m. (winter) | S1 Sch. I 1.5, p.7 | Event-level | See next row
Scheduled outages (overall) | All | Both standards (duration and restoration time) achieved in at least 90% of cases | S1 Sch. II 1.4, p.14 | Aggregate share threshold | S3 p.1, row 'Completing the work within 12 hrs.'; TPWODL '--'
Voltage variations | LV / HV / EHV | +6% / −6% (LV); +6% / −9% (HV); +10% / −12.5% (EHV) of declared voltage, at the point of commencement of supply; complaint: improve within 15 days (no network expansion), resolve within 120 days (up to 11 kV) / 180 days (up to 33 kV); intimate within 7 days if due to transmission | S1 Sch. I 2.1, p.8 | Point-of-supply limit; event-level complaint times | S3 p.1, row 'No. of cases in which voltage ... exceeded 3% of the voltage limits fixed under I.E. Rules, 1956' (EHT/HT/LT); TPWODL '--'
Harmonics | ≥132 kV / 33 kV / 11 kV consumers | THDv limited to 3% (132 kV and above), 8% (33 kV), 8% (11 kV) per Orissa Grid Code; Stage 1 effective on Commission order; Stages 2-3 dates to be set | S1 Sch. I 2.2, pp.8-9 | Point-of-supply limit (staged) | Not reported in S3
Meter complaints | All | Inspect within 7 working days; replace defective licensee meter within 30 days; burnt meter (not consumer-caused) within 30 working days; consumer-caused: notice within 7 days, replace within 15 days of payment | S1 Sch. I 2.3, p.9 | Event-level time standard | Not reported in S3
New connections / additional load | LT / HT / EHT | Notice within 3 days and estimate within one week (LT); feasibility 21/30 working days and estimate 60 working days (HT/EHT); supply within one month (no extension), 30/60/90 days (LT/11 kV/33 kV extension); temporary supply sanction within 3 days (Urban) / 7 days (Rural) | S1 Sch. I 3.1-3.7, pp.9-12; S2 cl. 6 (Sch. I 3.8), p.3 | Event-level time standard | Not reported in S3
Transfer of ownership and conversion of services | All | 15 days (title transfer, change of category); 30 / 60 / 90 days (LT 1-ph↔3-ph / LT↔11 kV / LT↔33 kV conversion) | S1 Sch. I 4, p.12 | Event-level time standard | Not reported in S3
Bill complaints and reconnection | All | Bill complaints resolved within 30 days; reconnection within 4 working hours of proof of payment | S1 Sch. I 5.1-5.2, p.13 | Event-level time standard | Not reported in S3
SAIFI / SAIDI / MAIFI | Licensee-wide 11 kV feeders excl. predominantly agricultural; agricultural feeders separately; urban / rural separately; monthly | Indices per IEEE 1366 (1998) computed with connected-load weighting: SAIFI = Σ(Ai×Ni) ÷ Nt; SAIDI = Σ(Bi×Ni) ÷ Nt; MAIFI = Σ(Ci×Ni) ÷ Nt (sustained > 5 minutes; momentary ≤ 5 minutes). No numeric target; the Commission may notify target levels annually | S1 Sch. II 1.5, pp.14-15 | None (target not available) | S3 p.1, annual values for TPWODL; target column blank; Rule 10(1) of the Electricity (Rights of Consumers) Rules, 2020 (S5) requires the Commission to specify SAIDI / SAIFI parameters; no OERC specification located
Supply frequency | All | Endeavour to maintain within ±3% of 50 Hz; hourly measurement; report number of events outside limits | S1 Sch. II 1.6, p.16 | No quantitative benchmark (reporting obligation) | S3 p.1; TPWODL '--'
Voltage unbalance | All | Not to exceed 3% at the point of commencement of supply; computation method to be specified separately | S1 Sch. II 1.7, p.16 | Point-of-supply limit | Not reported in S3
Street-light faults | All | Rectify line faults and restore street lights within 6 hours of detection or receipt of complaint, whichever is earlier, in at least 90% of cases | S1 Sch. II 1.8, p.16 | Aggregate share threshold | S3 p.1 (measured 'of receiving the complaint'); minimum target 90
Billing mistakes | All | Percentage of bills requiring rectification following complaints to total bills issued not greater than 0.1% | S1 Sch. II 1.9, p.16 | Aggregate share ceiling | S3 p.1, row 'No. of faulty bills prepared as a percentage of total no. of bills issued'; minimum target column 0.1
Faulty meters | All | Percentage of defective meters to total meters in service not greater than 5% | S1 Sch. II 1.10, p.16 | Aggregate share ceiling | S3 p.1, row 'No. of faulty/defective meters as a percentage of total no. of existing meters'; minimum target column 5
Electrical accidents | All | Licensee to endeavour to minimise electrical accidents; increase or decrease over time is an indicator of performance. No numeric benchmark | S1 Sch. II 1.11, p.16 | No quantitative benchmark | S3 p.1, accident table (fatal / non-fatal, human / animal; 20-21 and 21-22); accident records and monthly returns to the Commission under cls. 9-12 of the OERC (Compensation to Victims of Electrical Accidents) Regulation, 2020 (S7)
Compensation to consumers | Urban / other areas | Schedule of compensation (Rs. 50 to Rs. 1,000 per case or per day of default; automatic or to be claimed) for failure to meet Guaranteed Standards | S1 Reg. 5; Sch. III, pp.17-19 | Compensation schedule | Not reported in S3
Reporting obligations | All | Guaranteed Standards: monthly reports within 15 days and annual report within 30 days of year-end. Overall Standards: quarterly reports within 15 days and annual report within 30 days of year-end | S1 Reg. 6(1)-6(4), pp.4-5 | Reporting basis | Only the Commission's consolidated annual statement (S3) is available
Force majeure exemption | All | Standards suspended during force majeure, including outages due to generation or transmission failure and outages initiated by NLDC / RLDC / SLDC | S1 Reg. 8(1) as renumbered and amended as Reg. 9(1) by S2 cl. 4-5, p.3 | Exemption | Application to reported values not stated in S3
Note on F17: Rule 10(1) of the 2020 Rules requires a Commission specification; none located, so the benchmark remains unresolved. Standard unchanged.
Note on F23: Reporting basis for accident records added from S7. No benchmark is set there; Standard unchanged.

## Definitions_Units
Indicator | Definition / formula | Dashboard unit | Reporting basis | Evidence | Note
Within-standard share (fuse-off, line breakdown, distribution transformer, scheduled outage, street light) | Cases rectified / restored / replaced within the Schedule I time limit ÷ total cases (calls received; DTs failed) × 100 | Percentage (%) | Annual (FY 2021-22), urban and rural reported separately for the first three parameters | S1 Sch. II 1.1-1.4, 1.8, p.14, p.16; S3 p.1 ('Achievement in %') | Underlying case counts are not reported. Line-breakdown and street-light rows in S3 measure time from receipt of complaint (S1: occurrence of breakdown; detection or complaint, whichever earlier).
Faulty-bill share | Bills requiring rectification following complaints ÷ total bills issued × 100 (S1); 'faulty bills prepared as a percentage of total no. of bills issued' (S3) | Percentage (%) | Annual | S1 Sch. II 1.9, p.16; S3 p.1 | Wording differs between S1 and S3; see Data_Quality_Flags.
Defective-meter share | Defective meters ÷ total meters in service × 100 | Percentage (%) | Annual (point in the year not stated) | S1 Sch. II 1.10, p.16; S3 p.1 | Reported as a whole number (5). Read as per cent: the S3 column is headed 'Achievement in %' and the row label states 'as a percentage'. In the same row S3 shows 14 (TPNODL) and 8 (TPSODL) against the 5% ceiling, and the FY 2020-21 statement (S10) shows 10 for both, which is consistent with a per cent scale.
SAIDI | Σ(Bi×Ni) ÷ Nt; Bi = total duration of sustained interruptions on feeder i in the month; Ni = connected load of feeder i affected; Nt = total 11 kV connected load | Minutes per kW of connected load | Annual value | S1 Sch. II 1.5, p.15 (formula; duration unit not stated); S3 p.1 ('Total duration of interruption in minutes each 1 KW connected load (SAIDI)(Minutes)'); S1 Sch. II 1.5 cites IEEE Std 1366 (1998); S4 (TPWODL record note) item 10 | Connected-load weighted, not consumer weighted; not directly comparable with consumer-weighted indices of other states. S4 gives SAIDI 424, equal to the S3 value of 25,441 minutes divided by 60 (424.0), consistent with the minutes unit in S3; S4 prints no unit.
SAIFI | Σ(Ai×Ni) ÷ Nt; Ai = number of sustained interruptions (each longer than 5 minutes) on feeder i in the month | Interruptions per kW of connected load | Annual value | S1 Sch. II 1.5, p.15; S3 p.1 ('Total no. of interruption each lasting more than 5 minutes faced by 1 KW connected load (SAIFI)(Nos.)') | Unit derived from formula: (count × kW) ÷ kW = count per unit of connected load; S3 states '(Nos.)' per 1 kW. S4 gives SAIFI 600, matching S3.
MAIFI | Σ(Ci×Ni) ÷ Nt; Ci = number of momentary interruptions (each less than or equal to 5 minutes) on feeder i in the month | Momentary interruptions per kW of connected load | Annual value | S1 Sch. II 1.5, p.15; S3 p.1 ('... each lasting less than 5 minutes faced by 1 KW connected load (MAIFI)(Nos.)') | S1 momentary threshold '≤ 5 minutes'; S3 label 'less than 5 minutes'.
Supply-frequency excursions | Number of hourly measurements with supply frequency outside ±3% of 50 Hz | Number of hourly measurements (count) | Not reported | S1 Sch. II 1.6, p.16; S3 p.1 | No value reported.
Voltage cases outside limits | Number of cases in which voltage at the point of commencement of supply exceeded the limits (S3 wording: 'exceeded 3% of the voltage limits fixed under I.E. Rules, 1956') | Number of cases (count) | Not reported | S1 Sch. I 2.1, p.8; S3 p.1 | No value reported; S3 wording does not correspond to S1 limits.
Electrical accidents (fatal / non-fatal; human / animal) | Number of accident cases in the year | Number of accidents (count) | Annual | S3 p.1 ('No. of accident cases'); S1 Sch. II 1.11, p.16 | Counts accident cases. Prior-year (FY 2020-21) counts held in Calculations › Accidents. Records are kept and returned monthly to the Commission under cls. 9-12 of the 2020 compensation regulation (S7), which does not define fatal or non-fatal. FY 2020-21 counts agree with S10.
Note on F4: Unit support strengthened using the other licensees' values in the same table (Calculations > Threshold_Tests).
Note on E5: Index basis (IEEE Std 1366 cited in S1) and cross-source value added.
Note on F5: Unit cross-check against the Commission's own review note (S4). Value and unit unchanged.
Note on F6: Cross-source value check (S4).
Note on F10: Reporting basis and prior-year agreement added (S7, S10).

## Source_Gaps
Item | Gap (as of Pass 1) | Follow-up | Status after further review | Evidence (link)
Amendments / replacement regulation | Only the 1st Amendment (2010, S2) was found. No later amendment, replacement regulation or Commission order under Reg. 4(3) altering Schedules I-II was found in the repository; applicability of S1 as amended by S2 to FY 2021-22 rests on that basis. | Pass 2: confirm whether any amendment, replacement or Reg. 4(3) order was in force during FY 2021-22. | Partly resolved. OERC's regulation listings show the 2004 regulation with the 2010 amendment only; no final later amendment or Reg. 4(3) order was located. An OERC notice of 22 September 2022 (S6) states the regulations still required amendment because of the Rights of Consumers Rules, 2020 (S5). Only draft amendments exist (see below) and they were not used. | OERC current regulations page (S11)
Reliability targets | No Commission notification of target levels for SAIFI / SAIDI / MAIFI (S1 Sch. II 1.5(ii)) applicable to FY 2021-22 was found; the S3 target column is blank for these rows. | Pass 2: search OERC orders for reliability targets. | Unresolved. Rule 10(1) of the Rights of Consumers Rules, 2020 (S5) requires the Commission to specify SAIDI / SAIFI parameters; no OERC instrument doing so was located. The only numeric reliability limits found are in a draft (see below) and were not used. | Rights of Consumers Rules, 2020 (S5)
Licensee's own SoP returns | TPWODL's monthly Guaranteed Standards reports and quarterly / annual Overall Standards reports (S1 Reg. 6) are not in the repository; only the Commission's consolidated annual statement (S3) is available. Case counts behind the reported shares are therefore unavailable. | Pass 2: locate TPWODL SoP returns for FY 2021-22. | Unresolved. OERC lists a FY 2021-22 Guaranteed Standards archive; its contents could not be opened with the tools available. No case counts were obtained. | OERC Guaranteed Standards 2021-22 (zip)
Guaranteed Standards performance | S3 Note 1 states that Guaranteed Standards information is available on the OERC and licensee websites; no such document is in the repository. | Pass 2: obtain Guaranteed Standards performance for FY 2021-22. | Unresolved for the same reason: the OERC FY 2021-22 archive could not be opened. | OERC Performance of Discoms page
Reliability-index disaggregation | S1 requires monthly indices, urban/rural segregation and separate indices for predominantly agricultural feeders; only single annual values are reported, and whether agricultural feeders are excluded is not stated. | Pass 2: locate monthly and disaggregated indices. | Unresolved. No monthly, urban / rural or agricultural-feeder indices located. Formula basis confirmed: S1 Sch. II 1.5 cites IEEE Std 1366 (1998). | S1 web copy
Scheduled outage, frequency and voltage values | S3 shows '--' for TPWODL; no explanation is given. | Pass 2: check licensee returns. | Unresolved. The FY 2021-22 statement shows '--' for TPWODL, TPNODL and TPSODL on scheduled outage; only TPCODL reports a value. The public copy of the statement shows the same. | Public copy of S3
Voltage unbalance and harmonics | No reported values for S1 Sch. II 1.7 (voltage unbalance) or Sch. I 2.2 (harmonics); Commission orders setting the harmonics stage dates were not found. | Pass 2: locate data and orders. | Unresolved. No TPWODL values or Commission orders located. | Supply Code 2019 (S8)
Compensation records | No data on compensation paid under S1 Reg. 5 / Sch. III. | Pass 2: locate compensation data. | Unresolved. Compensation data would sit in the Guaranteed Standards archive that could not be opened. | OERC Guaranteed Standards 2021-22 (zip)
Referenced instruments | Orissa Grid Code (harmonics), OERC Distribution (Conditions of Supply) Code, 2004 (meters, new connections), Indian Electricity Rules, 1956 (S3 voltage row; S1 Sch. II 1.6) and the Government of Orissa rural-areas notification of 30 March 2005 (S2) are not in the repository. | Pass 2: obtain if needed for definitions. | Partly resolved. The 2004 Supply Code was superseded by the Supply Code 2019 (cl. 1.6, S8). The Indian Electricity Rules 1956, the CEA (Measures relating to Safety and Electric Supply) Regulations 2010 (to which the 2019 Code refers for voltage variation), the Orissa Grid Code and the 2005 rural-areas notification were not obtained. No reported value or benchmark in the workbooks depends on them. | Supply Code 2019 (S8)
S2 gazette date | S2 states it comes into force on publication in the Official Gazette; the gazette date is not in the file. | Pass 2: confirm publication date (before FY 2021-22 in any case, as notified December 2010). | Resolved. Gazette No. 313 dated 04-02-2011 per the OERC regulations listing (S12). Effective before FY 2021-22. | OERC old-site regulations listing (S12)
DISCOM full name | The permitted sources identify the licensee only as 'TPWODL' (and the website tpwesternodisha.com); the full registered name is not stated. | Pass 2: confirm full name and update the DISCOM field. | Resolved. 'TP Western Odisha Distribution Limited (TPWODL)' per the licence conditions, cl. 1.1 and 3.3(x) (S9). Main sheet updated. | TPWODL licence conditions (S9)
Drive links | Files were supplied without Google Drive URLs; the connected Google Drive was searched and holds no TPWODL or OERC documents. Link fields are recorded as not available. | Add Drive links when available. | Unchanged. Web sources are listed with their URLs in Source_Documentation; none has been uploaded to Drive.
Draft amendment to the Standards of Performance Regulations (31 August 2019) | OERC notification no. OERC-Engg.-94/2003(Vol.-IV)/1251 proposing a '2nd Amendment'. It says the Commission 'proposes' the amendments, with no sign of final notification. It would change restoration times and add monthly SAIDI / SAIFI limits. Not used as a standard. | Retrieve and review if a readable copy becomes available. | Recorded as an open item. | Draft 2nd Amendment, 2019 (excluded)
Draft Distribution Licensees' Standards of Performance Regulations, 2025 | Pre-published on 20 August 2025 for comments; draft, and later than FY 2021-22. Not used as a standard or as evidence of applicability. | Retrieve and review if a readable copy becomes available. | Recorded as an open item. | Draft regulations, 2025 (excluded)
Overall Performance Standards page (licence Condition 17, 1997 licence) | An undated page on the OERC old site lists performance standards framed under the Orissa Electricity Reform Act, 1995 and the 1997 licence (e.g., restoration within 3 / 24 hours, faulty-meter replacement). Its legal status and applicability to FY 2021-22 could not be established, and the 2004 regulations govern the indicators in the workbook. Not used. | Retrieve and review if a readable copy becomes available. | Recorded as an open item. | OERC Overall Performance Standards page (not used)
TPWODL Standard Performance web page | The page on the TPWODL website returned an access-denied response, so any licensee-published standards of performance reports could not be read. | Retrieve and review if a readable copy becomes available. | Recorded as an open item. | TPWODL Standard Performance page (blocked)
OERC Annual Report 2021-22 | The document could not be fetched with the tools available, so any standards of performance content in it was not reviewed. | Retrieve and review if a readable copy becomes available. | Recorded as an open item. | OERC Annual Report 2021-22 (unread)
OERC-hosted original of the FY 2021-22 statement | The statement was located only as a copy on a licensee website (S3 web URL); the OERC page listing performance documents offers the Guaranteed Standards archive, not this statement. | Retrieve and review if a readable copy becomes available. | Recorded as an open item. | OERC Performance of Discoms page
Existing Sources folder | A Drive folder named 'Sources' for this project could not be located with the available search (only an unrelated folder 'Source files' owned by another user was found), so its contents were not inspected and its completeness is not verified. Documents marked YES in Source_Documentation column L are those needed to substantiate the final Main sheet; S1, S2 and S3 are the originally supplied files and are presumed present. | Confirm which of S4, S5, S6, S7, S11 and S12 are already in the folder before uploading.
Note on D2: Status updated after further review; see the linked evidence.
Note on E2: Evidence for the status in column D.
Note on D3: Status updated after further review; see the linked evidence.
Note on E3: Evidence for the status in column D.
Note on D4: Status updated after further review; see the linked evidence.
Note on E4: Evidence for the status in column D.
Note on D5: Status updated after further review; see the linked evidence.
Note on E5: Evidence for the status in column D.
Note on D6: Status updated after further review; see the linked evidence.
Note on E6: Evidence for the status in column D.
Note on D7: Status updated after further review; see the linked evidence.
Note on E7: Evidence for the status in column D.
Note on D8: Status updated after further review; see the linked evidence.
Note on E8: Evidence for the status in column D.
Note on D9: Status updated after further review; see the linked evidence.
Note on E9: Evidence for the status in column D.
Note on D10: Status updated after further review; see the linked evidence.
Note on E10: Evidence for the status in column D.
Note on D11: Status updated after further review; see the linked evidence.
Note on E11: Evidence for the status in column D.
Note on D12: Status updated after further review; see the linked evidence.
Note on E12: Evidence for the status in column D.
Note on D13: Status updated after further review; see the linked evidence.
Note on A14: New source-gap entry from the further review.
Note on E14: Link to the document or official hosting page concerned.
Note on A15: New source-gap entry from the further review.
Note on E15: Link to the document or official hosting page concerned.
Note on A16: New source-gap entry from the further review.
Note on E16: Link to the document or official hosting page concerned.
Note on A17: New source-gap entry from the further review.
Note on E17: Link to the document or official hosting page concerned.
Note on A18: New source-gap entry from the further review.
Note on E18: Link to the document or official hosting page concerned.
Note on A19: New source-gap entry from the further review.
Note on E19: Link to the document or official hosting page concerned.
Note on A20: Added: limitation of the Sources-folder verification.

## Data_Quality_Flags
Item | Observation | Treatment
Values equal to thresholds | TPWODL street-light share '90', faulty-bill share '0.10' and defective-meter share '5' equal the corresponding Commission targets (90, 0.1, 5). '90' and '5' are printed without decimals, unlike other percentage entries in the column. Underlying counts are not available. The FY 2020-21 statement (S10) reports the same TPWODL values (90, 0.10 and 5) for those three rows. | Used as reported; compliance assessed on the reported values; flagged.
Restoration shares of 100.00% | All six urban/rural restoration shares (fuse-off, line breakdown, distribution transformer) are reported as exactly 100.00%. | Used as reported; combined FY shares are 100.0% irrespective of case weights; flagged.
S1 Sch. II 1.1 cross-reference | Sch. II 1.1 refers to the time limits in 'sub-paragraph 1.1 of Schedule-I', which concerns information on likely restoration time; the fuse-off time limits are in Sch. I 1.2. S3 applies the Sch. I 1.2 limits (6 / 24 hours). | Sch. I 1.2 time limits applied as the fuse-off time standard.
Line-breakdown clock start | S1 Sch. I 1.3 and Sch. II 1.2 measure time from occurrence of the breakdown; S3 measures 'within 12 hrs. / 24 hrs. of receiving the complaint'. | Comparison marked not possible; see Review_Items.
Street-light clock start | S1 Sch. II 1.8 measures time from detection or receipt of complaint, whichever is earlier; S3 measures 'within 6 hrs. of receiving the complaint'. | Comparison marked not possible; see Review_Items.
Billing-mistake wording | S1: 'bills requiring rectifications following complaints'; S3: 'faulty bills prepared'. S3 presents the value against the S1 threshold (0.1). Any bill requiring rectification after a complaint is a faulty bill, so the S3 share is not lower than the S1 share. | Treated as the same parameter; the 'met' result also holds under the narrower S1 definition.
Area terminology | S1 uses 'towns and cities' and 'rural areas'; S3 uses 'urban areas' and 'rural areas'; S2 defines Urban Areas as areas under NAC, Municipality and Municipal Corporation. | Treated as the same urban/rural classification.
Momentary-interruption threshold | S1 defines momentary as ≤ 5 minutes and sustained as > 5 minutes; S3 labels MAIFI 'less than 5 minutes' and SAIFI 'more than 5 minutes'. | Treated as the S1 definitions; interruptions of exactly 5 minutes may be classified inconsistently; flagged.
Reliability-index precision and weighting | SAIFI, MAIFI and SAIDI are reported as whole numbers and are weighted by connected load (kW), not by number of consumers. | Presented at source precision; unit stated per kW of connected load.
Voltage row wording | S3 row counts cases exceeding '3% of the voltage limits fixed under I.E. Rules, 1956'; S1 sets voltage limits of ±6% (LV), +6/−9% (HV), +10/−12.5% (EHV) and a separate 3% voltage-unbalance limit. | No TPWODL value reported; definitional mismatch recorded.
Accident counts | Accident counts are printed with leading zeros (e.g., '02', '00'); S3 also shows FY 2020-21 counts. The FY 2020-21 counts agree with the FY 2020-21 statement (S10). | FY 2021-22 counts used; FY 2020-21 counts held in Calculations › Accidents.
S3 document form | S3 is a single-page Commission statement (metadata indicates conversion from a spreadsheet); no issue date or reference number is shown. A public copy of the same statement reports identical TPWODL values (S3 web URL). | Recorded in Source_Documentation.
Note on B2: Prior-year repetition identified from S10; treatment unchanged.
Note on B12: Prior-year agreement confirmed (Calculations > Accidents).
Note on B13: Second-copy cross-check added.

## Review_Items
Item | Summary | Reason held for review
Line-breakdown and street-light comparability | S3 presents both shares against the Commission's minimum targets (95 and 90). The dashboard treats them as not comparable because the reported time is measured from receipt of complaint rather than from occurrence / detection. | Methodological judgement; confirm the licensee's measurement basis in Pass 2 (licensee returns or reporting format).
Aggregate vs area-level test (fuse-off, distribution transformer) | S1 sets a single aggregate threshold over total calls / DTs failed; S3 shows the target against each area. For FY 2021-22 both tests give the same result (all area shares 100.00%). | Method matters only where area shares differ; record for later years and other Odisha licensees.
CAIDI | Not specified in S1 and not reported in S3. A SAIDI ÷ SAIFI ratio is shown in Calculations › Reliability as a plausibility check only. | Not included in the main dataset.
Prior-year accident counts | S3 shows FY 2020-21 counts (FH 14, FA 10, NFH 11, NFA 8). S1 Sch. II 1.11 treats change over time as an indicator, without a target. Counts agree with the FY 2020-21 statement (S10). | Held in Calculations › Accidents; not FY 2021-22 data.
Guaranteed Standards and compensation | Schedule I event-level standards and Schedule III compensation have no reported data for FY 2021-22 in the repository. The OERC FY 2021-22 Guaranteed Standards archive exists but could not be opened with the tools available (Source_Gaps). | Source gap; add rows if Pass 2 locates data.
Note on B5: Cross-check result added.
Note on B6: Status of the archive recorded.

## Conventions
Convention | Rule
Category convention | Supply-restoration and fault-rectification shares, billing mistakes and defective meters = Quality of Service; reliability indices, supply frequency and supply voltage = Quality & Reliability of Supply; accidents = Safety.
Indicator naming | '<Service> — share resolved within standard' for time-limited restoration parameters; '<Parameter> — <ratio>' for ratio standards; reliability indices use the full name with abbreviation; accidents follow 'Fatal / Non-fatal electrical accidents — humans / animals'.
Urban / rural | Where the standard and the reported data distinguish urban and rural areas, both appear in one row: area shares in Reported data; the combined FY share in the annualised field only where it can be derived without case counts.
Percentages | One decimal place in the annualised field (e.g., 100.0%); Reported data retain source precision (e.g., 100.00%, 90%). Exception: faulty-bill share keeps two decimals (0.10%) because the regulatory ceiling is 0.1% and one-decimal rounding would obscure the comparison.
Indices | SAIDI in minutes, SAIFI in interruptions and MAIFI in momentary interruptions, each per kW of connected load (connected-load weighting per S1). Values are reported as annual whole numbers and are presented at source precision rather than two decimals.
FY notation | 'FY 2021-22' (April 2021 to March 2022).
Reported data | Final metric or concise series only, preserving the annual reporting basis and the urban/rural split; 'No value reported for FY 2021-22.' where the source shows '--'.
Annualised field | 'FY <metric>: <value>.'; 'Not annualised: no reported value.' where no value is reported.
Comparison rule | Comparison possible? = No ⇒ Standard met? = N/A, without exception. Yes only where definition, unit, period, area and aggregation level align; compliance assessed on the original regulatory basis (aggregate share over total cases).
Reference workbooks | UGVCL FY 2024-25 dashboard and calculations workbooks used only for format, naming, units, precision and structure; not used as evidence.
DISCOM field | Registered name followed by the abbreviation in brackets, e.g., 'TP Western Odisha Distribution Limited (TPWODL)', as in the reference workbook.
Note on B7: Corrected typography of the FY notation convention; meaning unchanged.
Note on A12: Convention added with the DISCOM name update.