## Main
State | DISCOM | Financial year | Indicator category | Indicator | Standard | Reported data | Annualised / standardised reported data | Comparison possible? | Standard met? | If comparison is not possible, why? | Interpretation | Documentation of standardisation / transformation
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Quality of Service | Normal fuse-off call rectification — share resolved within standard | At least 90% of fuse-off calls rectified within 6 hours (Urban) / 24 hours (Rural) of complaint | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Quality of Service | Line breakdown restoration — share resolved within standard | At least 95% of line breakdowns restored within 12 hours (Urban) / 24 hours (Rural) of occurrence of the breakdown | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Quality of Service | Distribution transformer failure restoration — share resolved within standard | At least 95% of failed distribution transformers replaced within 24 hours (Urban) / 48 hours (Rural) of complaint | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Quality of Service | Scheduled outage restoration — share resolved within standard | At least 90% of scheduled outages notified in advance (at least 24 hours), not exceeding 12 hours a day, and with supply restored by 6 p.m. (summer) / 5 p.m. (winter) | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Quality of Service | Street-light fault rectification — share resolved within standard | At least 90% of street-light faults rectified within 6 hours of detection or complaint, whichever is earlier | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Quality of Service | Billing mistakes — faulty bills as share of bills issued | Bills requiring rectification following complaints not more than 0.1% of bills issued | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Quality of Service | Defective meters — share of meters in service | Defective meters not more than 5% of meters in service | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Quality & Reliability of Supply | System Average Interruption Duration Index (SAIDI) | No quantitative benchmark specified (target levels may be notified by the Commission annually under the regulation) | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Quality & Reliability of Supply | System Average Interruption Frequency Index (SAIFI) | No quantitative benchmark specified (target levels may be notified by the Commission annually under the regulation) | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Quality & Reliability of Supply | Momentary Average Interruption Frequency Index (MAIFI) | No quantitative benchmark specified (target levels may be notified by the Commission annually under the regulation) | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Quality & Reliability of Supply | Supply frequency outside ±3% of 50 Hz — number of hourly measurements | Licensee to endeavour to maintain supply frequency within ±3% of 50 Hz and report the number of hourly measurements outside this range; no numerical target specified | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Quality & Reliability of Supply | Supply voltage at point of supply outside limits — number of cases (EHT / HT / LT) | +6% / −6% (LV); +6% / −9% (HV); +10% / −12.5% (EHV) of declared voltage | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Safety | Fatal electrical accidents — humans | No quantitative benchmark specified | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Safety | Non-fatal electrical accidents — humans | No quantitative benchmark specified | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Safety | Fatal electrical accidents — animals | No quantitative benchmark specified | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Odisha | TP Western Odisha Distribution Limited (TPWODL) | FY 2025-26 | Safety | Non-fatal electrical accidents — animals | No quantitative benchmark specified | No value reported for FY 2025-26. | Not annualised: no reported value. | No | N/A | No reported value is available for FY 2025-26. The regulation also specifies no quantitative benchmark for this indicator. | Direct comparison is not possible because no reported value is available. | Not annualised because no reported value is available.
Note on B2: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B3: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B4: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B5: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B6: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B7: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B8: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B9: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B10: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B11: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B12: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B13: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B14: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B15: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B16: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).
Note on B17: DISCOM field now gives the registered name with its abbreviation, as in the FY 2021-22 to FY 2024-25 datasets and the reference workbook. Name from the TPWODL licence conditions, cl. 1.1 and 3.3(x) (S9).

## Source_Documentation
ID | Source type | Source file name | Document title | Issuing authority | Publication / FY | Page(s) | Section / table / annexure | Google Drive link | Source note | Web URL | Sources folder: additional upload required?
S1 | Regulatory | Odisha_Principal_Regulation_2004.pdf | Orissa Electricity Regulatory Commission (Licensees' Standards of Performance) Regulations, 2004, Notification No. OERC-Engg-94/2003, dated 21 May 2004 | Orissa Electricity Regulatory Commission | Orissa Gazette Extraordinary No. 711, 28 May 2004; in force from publication (Reg. 1(4)); applicable throughout FY 2025-26 as amended by S2 | p.2 (Regs. 1-2); p.3 (Regs. 2-4); pp.4-5 (Regs. 5-6); pp.5-6 (Regs. 8-12); pp.7-13 (Schedule I); pp.14-16 (Schedule II); pp.17-19 (Schedule III) | Regs. 1-12; Schedule I (Guaranteed Standards); Schedule II (Overall Standards, incl. 1.5 reliability-index formulas, p.15); Schedule III (compensation) | Not available: file supplied in the permitted repository without a Google Drive URL | Applicable regulation for FY 2025-26. Source of all overall standards, thresholds, reliability-index formulas (connected-load weighted) and the accident provision. No repeal or replacement located in the permitted repository. Re-checked for FY 2025-26: no repeal, replacement or later amendment located in the permitted repository. Applicability for FY 2025-26 re-checked on OERC listings (S11, S12): the regulation appears with one amendment (S2) and no later final amendment or replacement; the OERC current-regulations table (S11) was consulted in October 2026 and lists nothing further on standards of performance. An OERC notice dated 22 September 2022 (S6) states the regulations still required amendment because of the Electricity (Rights of Consumers) Rules, 2020 (S5), so they had not been replaced by then. The draft 2nd Amendment (2019) and the draft Distribution Licensees' Standards of Performance Regulations pre-published on 20 August 2025 are drafts and were not used. | OERC (old site) copy: Licensees' Standards of Performance Regulations, 2004 | No. Supplied repository file (Odisha_Principal_Regulation_2004.pdf); presumed already in the Sources folder, which could not be inspected. The web URL is a second copy for reference only.
S2 | Regulatory | Odisha_1st_Amendment_2010.pdf | Orissa Electricity Regulatory Commission (Licensee's Standard of Performance) (1st Amendment) Regulations, 2010, Notification No. OERC-Engg.-94/2003(Vol.-III)/5584, dated 16 December 2010 | Orissa Electricity Regulatory Commission | Notified 16 December 2010; in force from publication in the Official Gazette (gazette date not stated in the file); applicable throughout FY 2025-26; Gazette No. 313 dated 04-02-2011 (per OERC regulations listing, S12) | pp.1-3 | Clauses 1-6: Reg. 3(2)-3(8) (call centres; definition of Urban Areas); new Reg. 8 (third-party audit); renumbering of Regs. 8-12 as 9-13; amended Reg. 9(1) (force majeure); new Schedule I clause 3.8 (temporary supply) | Not available: file supplied in the permitted repository without a Google Drive URL | Reviewed. Does not amend the Schedule II overall standards or the reliability-index formulas. Urban Areas definition (p.1) used to confirm that 'towns and cities' (S1) and 'urban areas' (S3) refer to the same area classification. Re-checked for FY 2025-26: no repeal, replacement or later amendment located in the permitted repository. | OERC copy: Licensee's Standard of Performance (1st Amendment) Regulations, 2010 | No. Supplied repository file (Odisha_1st_Amendment_2010.pdf); presumed already in the Sources folder, which could not be inspected.
S3 | Reported performance | Not available | Performance of Electricity Distribution Companies in Odisha during the FY 2025-26: Achievement on Overall Standards of Performance (statement for this year not located) | Odisha Electricity Regulatory Commission (data furnished by the distribution licensees through affidavit) | FY 2025-26: not available | Not applicable | Not applicable | Not available: no FY 2025-26 statement located in the permitted repository | No Commission statement of TPWODL's reported performance for FY 2025-26 is in the permitted repository, and none was found in the connected Google Drive (searched by TPWODL, Overall Standards of Performance, OERC and 2025-26). No performance value has therefore been entered for this year. The statements for FY 2024-25 and earlier years are not used as evidence for FY 2025-26. | Not available: the OERC statement of achievement on Overall Standards of Performance for FY 2025-26 was not located on the Commission's website or elsewhere | Not applicable: this document does not exist in the sources reviewed. If the Commission publishes it, it would be the reported-performance source for all 16 Main rows and would need to be added.
S4 | Reported performance (cross-check only) | Web source: PerfomanceTPWODLuptoMar2026.pdf | Record Note of Annual Performance Review of TPWODL up to March 2026 | Odisha Electricity Regulatory Commission | Review held 18 May 2026; period April 2025 to March 2026 | Not established | Item 21 (SAIFI, SAIDI); accident items; DTR failure items | Not available: web source; not yet uploaded to the permitted Drive repository | Records TPWODL's SAIFI 331 (Nos.) and SAIDI 272 (Hrs.) and states that the SAIDI and SAIFI data cannot be relied upon; 45 accidents in total (31 human, of which 24 resulted in loss of life and 5 involved TPWODL personnel; 14 animal); 2,142 DTRs and 2 PTRs failed (2,466 DTRs in FY 2024-25). No MAIFI, voltage, frequency, street-light or standards-of-performance shares. The values are not stated on the Overall Standards basis (per kW of connected load) and carry a reliability caveat from the Commission itself, so they are held as cross-check information only and no dashboard value is taken from them. | OERC record note (PDF) | No. Consulted as the only performance document located for FY 2025-26; no value in the final Main sheet is taken from it. Retained here as the reference for the cross-check rows and Review_Items.
S5 | Regulatory | Web source: Gazette_Electricity-Rights-of-Consumers-Rules-2020 | The Electricity (Rights of Consumers) Rules, 2020 | Ministry of Power, Government of India | G.S.R. 818(E), 31 December 2020; in force on publication | Not established | Rule 10 (reliability parameters incl. SAIDI, SAIFI to be specified by the Commission) | Not available: web source; not yet uploaded to the permitted Drive repository | Final central rules in force throughout FY 2025-26. They require the State Commission to specify SAIDI / SAIFI parameters; no OERC instrument doing so was located, so the reliability benchmark stays unresolved. Copy hosted by the Maharashtra Electricity Regulatory Commission; an official gazette hosting page was not located. | Gazette copy hosted by MERC (PDF) | YES. Substantiates the statement in the SAIDI / SAIFI / MAIFI Standard cells that no Commission-specified reliability benchmark is available. Identified in the FY 2021-22 review; presence in the Sources folder cannot be verified (folder not located). Needed for FY 2025-26 as well; not a new requirement if already uploaded.
S6 | Regulatory (applicability evidence) | Web source: OERC public notice and EoI | OERC public notice and Expression of Interest: Consultancy for framing draft Distribution (Conditions of Supply) Code and draft Licensees' Standards of Performance Regulations | Odisha Electricity Regulatory Commission | 22 September 2022 (before FY 2025-26) | Not established | Terms of Reference | Not available: web source; not yet uploaded to the permitted Drive repository | Not a regulation. Evidence only that the 2004 regulations (as amended in 2010) had not been replaced by 22 September 2022. Applicability during FY 2025-26 rests on S11 and S12, which list no later final amendment, and on the fact that the 2025 regulations were only pre-published in draft. | OERC notice and EoI (PDF) | YES. Substantiates that the 2004 regulation, as amended, had not been replaced by September 2022 (the latest dated evidence located; later periods rest on S11 and S12). Identified in the FY 2021-22 review; presence in the Sources folder cannot be verified (folder not located). Needed for FY 2025-26 as well; not a new requirement if already uploaded.
S7 | Regulatory | Web source: Compensation to Victims of Electrical Accidents.pdf | OERC (Compensation to Victims of Electrical Accidents) Regulation, 2020 | Odisha Electricity Regulatory Commission | 2020; in force on publication in the Odisha Gazette (cl. 1.4) | Not established | Cls. 9 and 12 (accident reports; monthly return to the Commission) | Not available: web source; not yet uploaded to the permitted Drive repository | Listed as a gazette notification on the OERC old-site regulations page (S12); the document states neither a gazette number nor a date, so its legal status rests on that listing. Used only for the reporting basis of accident records. It does not define fatal or non-fatal accidents and sets no benchmark. | OERC copy (PDF) | YES. Substantiates the reporting basis of the four accident rows. Identified in the FY 2021-22 review; presence in the Sources folder cannot be verified (folder not located). Needed for FY 2025-26 as well; not a new requirement if already uploaded.
S9 | Licence | Web source: TPWODL_Licence Condition-Final.pdf | Conditions of the distribution and retail supply licence of TP Western Odisha Distribution Limited (TPWODL) | Odisha Electricity Regulatory Commission | Conditions effective 1 January 2021 (cl. 1.1); 25 years (cl. 4.1) | Not established | Cls. 1.1, 3.3(x) | Not available: web source; not yet uploaded to the permitted Drive repository | Confirms the registered name; the licence applies for the whole of FY 2025-26. | OERC copy of licence conditions (PDF) | No. Used solely to establish the DISCOM's name.
S11 | Regulatory listing | Web page: OERC current regulations (CGRF and Distribution Licensee Obligation) | OERC Current Regulations: CGRF & Distribution Licensee Obligation | Odisha Electricity Regulatory Commission | Page consulted October 2026 | Not applicable | Listing | Not available: web source; not yet uploaded to the permitted Drive repository | Lists the Licensees' Standards of Performance Regulations, 2004 and the 2010 amendment and no other standards of performance entry; no entry dated 2025 or 2026 on the subject. | OERC regulations page | YES (hosting page; a listing page has no direct document link). Substantiates that no later final amendment or replacement was listed. Identified in the FY 2021-22 review; presence in the Sources folder cannot be verified (folder not located). Needed for FY 2025-26 as well; not a new requirement if already uploaded.
S12 | Regulatory listing | Web page: OERC old-site regulations listing | OERC old-site regulations page | Odisha Electricity Regulatory Commission | Page consulted October 2026 | Not applicable | Listing | Not available: web source; not yet uploaded to the permitted Drive repository | Gives Gazette No. 313 dated 04-02-2011 for the 2010 amendment, lists the 2020 accident-compensation regulation as a gazette notification, and lists no other amendment to the standards of performance regulations. | OERC old-site regulations page | YES (hosting page). Substantiates the gazette details of the 2010 amendment and the absence of other listed amendments. Identified in the FY 2021-22 review; presence in the Sources folder cannot be verified (folder not located). Needed for FY 2025-26 as well; not a new requirement if already uploaded.
S13 | Tariff order (consulted) | Web source: DISCOM_TARIFF_ORDER_FY_2026-27.pdf | OERC tariff order for the distribution and retail supply licensees, FY 2026-27 | Odisha Electricity Regulatory Commission | FY 2026-27 (revised estimates for FY 2025-26 in the order) | Not established | Performance table (para 29) | Not available: web source; not yet uploaded to the permitted Drive repository | Checked for FY 2025-26 standards-of-performance achievement. The text read gives only distribution loss, collection efficiency and AT&C loss for TPWODL (FY 2025-26 revised estimates); none of the 16 dashboard indicators. No value is taken from it. The fetched text ended mid-document, so later paragraphs could not be read. | OERC tariff order FY 2026-27 (PDF) | No. Consulted; no value in the final Main sheet is taken from it.
Note on A5: New source (S4) added; supports the changes noted in Main, Source_Gaps, Definitions_Units, Review_Items and the calculations workbook.
Note on A6: New source (S5) added; supports the changes noted in Main, Source_Gaps, Definitions_Units, Review_Items and the calculations workbook.
Note on A7: New source (S6) added; supports the changes noted in Main, Source_Gaps, Definitions_Units, Review_Items and the calculations workbook.
Note on A8: New source (S7) added; supports the changes noted in Main, Source_Gaps, Definitions_Units, Review_Items and the calculations workbook.
Note on A9: New source (S9) added; supports the changes noted in Main, Source_Gaps, Definitions_Units, Review_Items and the calculations workbook.
Note on A10: New source (S11) added; supports the changes noted in Main, Source_Gaps, Definitions_Units, Review_Items and the calculations workbook.
Note on A11: New source (S12) added; supports the changes noted in Main, Source_Gaps, Definitions_Units, Review_Items and the calculations workbook.
Note on A12: New source (S13) added; supports the changes noted in Main, Source_Gaps, Definitions_Units, Review_Items and the calculations workbook.
Note on F3: Gazette number and date added from the OERC old-site listing (S12); the amendment document does not state them.
Note on J2: Applicability evidence for FY 2025-26 added from S6, S11 and S12. Drafts excluded.
Note on K2: Direct web copy of S1. Notification no. OERC-Engg-94/2003, 21 May 2004, Gazette Extraordinary No. 711 (28 May 2004) confirmed on the document.
Note on K3: Direct OERC-hosted copy of S2; notification no. OERC-Engg.-94/2003(Vol.-III)/5584 dated 16 Dec 2010 confirmed.
Note on K4: Search result recorded: no FY 2025-26 Overall Standards statement was located; Main rows therefore carry no reported value.
Note on L2: Final Sources-folder check against the completed Main sheet.
Note on L3: Final Sources-folder check against the completed Main sheet.
Note on L4: Final Sources-folder check against the completed Main sheet.

## Regulatory_Standards
Service / indicator | Area | Standard (original regulatory basis) | Source | Standard basis | Reporting format
Information on likely restoration time | All | Within 4 hours of complaint, on enquiry by the consumer | S1 Sch. I 1.1, p.7 | Event-level time standard | Not reported in S3
Normal fuse-off (supply restoration) | Urban / Rural | 6 hours (towns and cities); 24 hours (rural areas) from receipt of complaint (HG or LT fuses at the distribution transformer or consumer premises) | S1 Sch. I 1.2, p.7 | Event-level time standard | S3 p.1, rows 'Rectification of fuse-off call within 6 hrs. / 24 hrs.'
Normal fuse-off calls (overall) | All (total calls received) | Percentage of fuse-off calls rectified within the Schedule I time limits to total calls received not less than 90% | S1 Sch. II 1.1, p.14 (cross-refers to Sch. I sub-para 1.1; see Data_Quality_Flags) | Aggregate share threshold | S3 p.1, Urban and Rural rows; Commission's minimum target 90 shown for each area
Line breakdowns (supply restoration) | Urban / Rural | 12 hours (towns and cities); 24 hours (rural areas) from occurrence of breakdown; major breakdowns (heavy rain, lightning, whirlwind, needing conductor/structure replacement) 24 hours / 48 hours | S1 Sch. I 1.3, p.7 | Event-level time standard | S3 p.1 (measured 'of receiving the complaint')
Line breakdowns (overall) | Urban / Rural | Restoration within 12 hours (towns and cities) / 24 hours (rural areas) of occurrence of breakdown in at least 95% of cases | S1 Sch. II 1.2, p.14 | Aggregate share threshold | S3 p.1, Urban and Rural rows; minimum target 95
Distribution transformer failure (supply restoration) | Urban / Rural | Replacement within 24 hours (towns and cities); 48 hours (rural areas) of receiving the complaint | S1 Sch. I 1.4, p.7 | Event-level time standard | S3 p.1
Distribution transformer failures (overall) | All (total DTs failed) | Percentage of DTs replaced within the Schedule I time limits to total DTs failed not less than 95% | S1 Sch. II 1.3, p.14 | Aggregate share threshold | S3 p.1, Urban and Rural rows; minimum target 95
Scheduled outages | All | Notified at least 24 hours in advance; not more than 12 hours in a day; supply restored by 6 p.m. (summer) / 5 p.m. (winter) | S1 Sch. I 1.5, p.7 | Event-level | See next row
Scheduled outages (overall) | All | Both standards (duration and restoration time) achieved in at least 90% of cases | S1 Sch. II 1.4, p.14 | Aggregate share threshold | S3 p.1, row 'Completing the work within 12 hrs. of the scheduled outage before 5 PM/6 PM'; TPWODL 100.00; minimum target 90
Voltage variations | LV / HV / EHV | +6% / −6% (LV); +6% / −9% (HV); +10% / −12.5% (EHV) of declared voltage, at the point of commencement of supply; complaint: improve within 15 days (no network expansion), resolve within 120 days (up to 11 kV) / 180 days (up to 33 kV); intimate within 7 days if due to transmission | S1 Sch. I 2.1, p.8 | Point-of-supply limit; event-level complaint times | No FY 2025-26 reported value available; reporting row in earlier statements: 'No. of cases in which voltage at the point of commencement of supply exceeded 3% of the voltage limits' (EHT/HT/LT)
Harmonics | ≥132 kV / 33 kV / 11 kV consumers | THDv limited to 3% (132 kV and above), 8% (33 kV), 8% (11 kV) per Orissa Grid Code; Stage 1 effective on Commission order; Stages 2-3 dates to be set | S1 Sch. I 2.2, pp.8-9 | Point-of-supply limit (staged) | Not reported in S3
Meter complaints | All | Inspect within 7 working days; replace defective licensee meter within 30 days; burnt meter (not consumer-caused) within 30 working days; consumer-caused: notice within 7 days, replace within 15 days of payment | S1 Sch. I 2.3, p.9 | Event-level time standard | Not reported in S3
New connections / additional load | LT / HT / EHT | Notice within 3 days and estimate within one week (LT); feasibility 21/30 working days and estimate 60 working days (HT/EHT); supply within one month (no extension), 30/60/90 days (LT/11 kV/33 kV extension); temporary supply sanction within 3 days (Urban) / 7 days (Rural) | S1 Sch. I 3.1-3.7, pp.9-12; S2 cl. 6 (Sch. I 3.8), p.3 | Event-level time standard | Not reported in S3
Transfer of ownership and conversion of services | All | 15 days (title transfer, change of category); 30 / 60 / 90 days (LT 1-ph↔3-ph / LT↔11 kV / LT↔33 kV conversion) | S1 Sch. I 4, p.12 | Event-level time standard | Not reported in S3
Bill complaints and reconnection | All | Bill complaints resolved within 30 days; reconnection within 4 working hours of proof of payment | S1 Sch. I 5.1-5.2, p.13 | Event-level time standard | Not reported in S3
SAIFI / SAIDI / MAIFI | Licensee-wide 11 kV feeders excl. predominantly agricultural; agricultural feeders separately; urban / rural separately; monthly | Indices per IEEE 1366 (1998) computed with connected-load weighting: SAIFI = Σ(Ai×Ni) ÷ Nt; SAIDI = Σ(Bi×Ni) ÷ Nt; MAIFI = Σ(Ci×Ni) ÷ Nt (sustained > 5 minutes; momentary ≤ 5 minutes). No numeric target; the Commission may notify target levels annually | S1 Sch. II 1.5, pp.14-15 | None (target not available) | S3 p.1, annual values for TPWODL; target column blank; Rule 10 of the Electricity (Rights of Consumers) Rules, 2020 (S5) requires the Commission to specify SAIDI / SAIFI parameters; no OERC specification located
Supply frequency | All | Endeavour to maintain within ±3% of 50 Hz; hourly measurement; report number of events outside limits | S1 Sch. II 1.6, p.16 | No quantitative benchmark (reporting obligation) | S3 p.1; TPWODL '--'
Voltage unbalance | All | Not to exceed 3% at the point of commencement of supply; computation method to be specified separately | S1 Sch. II 1.7, p.16 | Point-of-supply limit | Not reported in S3
Street-light faults | All | Rectify line faults and restore street lights within 6 hours of detection or receipt of complaint, whichever is earlier, in at least 90% of cases | S1 Sch. II 1.8, p.16 | Aggregate share threshold | S3 p.1 (measured 'of receiving the complaint'); minimum target 90; TPWODL '--'
Billing mistakes | All | Percentage of bills requiring rectification following complaints to total bills issued not greater than 0.1% | S1 Sch. II 1.9, p.16 | Aggregate share ceiling | S3 p.1, row 'No. of faulty bills prepared as a percentage of total no. of bills issued'; minimum target column 0.1
Faulty meters | All | Percentage of defective meters to total meters in service not greater than 5% | S1 Sch. II 1.10, p.16 | Aggregate share ceiling | S3 p.1, row 'No. of faulty/defective meters as a percentage of total no. of existing meters'; minimum target column 5
Electrical accidents | All | Licensee to endeavour to minimise electrical accidents; increase or decrease over time is an indicator of performance. No numeric benchmark | S1 Sch. II 1.11, p.16 | No quantitative benchmark | No FY 2025-26 reported value available; reporting table in earlier statements: accident cases (fatal / non-fatal, human / animal); accident records and monthly returns to the Commission under cls. 9-12 of the OERC (Compensation to Victims of Electrical Accidents) Regulation, 2020 (S7)
Compensation to consumers | Urban / other areas | Schedule of compensation (Rs. 50 to Rs. 1,000 per case or per day of default; automatic or to be claimed) for failure to meet Guaranteed Standards | S1 Reg. 5; Sch. III, pp.17-19 | Compensation schedule | Not reported in S3
Reporting obligations | All | Guaranteed Standards: monthly reports within 15 days and annual report within 30 days of year-end. Overall Standards: quarterly reports within 15 days and annual report within 30 days of year-end | S1 Reg. 6(1)-6(4), pp.4-5 | Reporting basis | Only the Commission's consolidated annual statement (S3) is available
Force majeure exemption | All | Standards suspended during force majeure, including outages due to generation or transmission failure and outages initiated by NLDC / RLDC / SLDC | S1 Reg. 8(1) as renumbered and amended as Reg. 9(1) by S2 cl. 4-5, p.3 | Exemption | Application to reported values not stated in S3
Note on F17: Rule 10 of the 2020 Rules requires a Commission specification; none located, so the benchmark remains unresolved. Standard unchanged.
Note on F23: Reporting basis added from S7. No benchmark is set there; Standard unchanged.

## Definitions_Units
Indicator | Definition / formula | Dashboard unit | Reporting basis | Evidence | Note
Within-standard share (fuse-off, line breakdown, distribution transformer, scheduled outage, street light) | Cases rectified / restored / replaced within the Schedule I time limit ÷ total cases (calls received; DTs failed) × 100 | Percentage (%) | Annual (FY 2025-26), urban and rural reported separately for the first three parameters | S1 Sch. II 1.1-1.4, 1.8, p.14, p.16; S3 p.1 ('Achievement in %') | No FY 2025-26 value available. Definitions and units follow S1 and the labels of the earlier Commission statements; the clock-start difference for line breakdown and the scope difference for scheduled outage noted in earlier years cannot be re-verified without the FY 2025-26 statement.
Faulty-bill share | Bills requiring rectification following complaints ÷ total bills issued × 100 (S1); 'faulty bills prepared as a percentage of total no. of bills issued' (S3) | Percentage (%) | Annual | S1 Sch. II 1.9, p.16; S3 p.1 | No FY 2025-26 value available. Wording differs between S1 and S3 in earlier statements; see Data_Quality_Flags.
Defective-meter share | Defective meters ÷ total meters in service × 100 | Percentage (%) | Annual (point in the year not stated) | S1 Sch. II 1.10, p.16; S3 p.1 | No FY 2025-26 value available; unit and scale cannot be re-verified without the statement; see Data_Quality_Flags.
SAIDI | Σ(Bi×Ni) ÷ Nt; Bi = total duration of sustained interruptions on feeder i in the month; Ni = connected load of feeder i affected; Nt = total 11 kV connected load | Minutes per kW of connected load | Annual value (no FY 2025-26 value available) | S1 Sch. II 1.5, p.15 (formula; duration unit not stated); S3 p.1 ('Total duration of interruption in minutes each 1 KW connected load (SAIDI)(Minutes)') | Connected-load weighted, not consumer weighted; not directly comparable with consumer-weighted indices of other states. The Commission's review record note (S4) gives TPWODL SAIDI as 272 hours for FY 2025-26 (16,320 minutes), with the statement that the data cannot be relied upon; it does not state the per-kW connected-load basis used in the Overall Standards statement. Not used as a reported value.
SAIFI | Σ(Ai×Ni) ÷ Nt; Ai = number of sustained interruptions (each longer than 5 minutes) on feeder i in the month | Interruptions per kW of connected load | Annual value (no FY 2025-26 value available) | S1 Sch. II 1.5, p.15; S3 p.1 ('Total no. of interruption each lasting more than 5 minutes faced by 1 KW connected load (SAIFI)(Nos.)') | Unit derived from formula: (count × kW) ÷ kW = count per unit of connected load; S3 states '(Nos.)' per 1 kW. The review record note (S4) gives TPWODL SAIFI as 331 (Nos.) for FY 2025-26 with the same reliability caveat; the per-kW basis is not stated. Not used as a reported value.
MAIFI | Σ(Ci×Ni) ÷ Nt; Ci = number of momentary interruptions (each less than or equal to 5 minutes) on feeder i in the month | Momentary interruptions per kW of connected load | Annual value (no FY 2025-26 value available) | S1 Sch. II 1.5, p.15; S3 p.1 ('... each lasting less than 5 minutes faced by 1 KW connected load (MAIFI)(Nos.)') | S1 momentary threshold '≤ 5 minutes'; S3 label 'less than 5 minutes'.
Supply-frequency excursions | Number of hourly measurements with supply frequency outside ±3% of 50 Hz | Number of hourly measurements (count) | Not reported | S1 Sch. II 1.6, p.16; S3 p.1 | No value reported.
Voltage cases outside limits | Number of cases in which voltage at the point of commencement of supply exceeded the limits (S3 wording: 'exceeded 3% of the voltage limits'; FY 2021-22 wording also cited 'I.E. Rules, 1956') | Number of cases (unit not established) | No FY 2025-26 value available | S1 Sch. I 2.1, p.8; S3 p.1 | Unit as labelled in earlier statements ('No. of cases'); not re-verified for FY 2025-26. S1, S2 and the earlier statements give no further reporting instruction. The FY 2025-26 review record note (S4) gives no voltage figures.
Electrical accidents (fatal / non-fatal; human / animal) | Number of accident cases in the year | Number of accidents (count) | Annual | S3 p.1 ('No. of accident cases'); S1 Sch. II 1.11, p.16 | No FY 2025-26 value available. Prior-year (FY 2024-25) counts held in Calculations > Accidents. Records are kept and returned monthly to the Commission under cls. 9-12 of the 2020 compensation regulation (S7), which does not define fatal or non-fatal. The review record note (S4) states 31 human accidents (24 with loss of life) and 14 animal accidents for FY 2025-26; its basis (for example, whether third-party and TPWODL personnel cases are included) is not stated and it does not split animal accidents into fatal and non-fatal, so it is not used as a reported value.
Note on F5: Record-note figure documented as cross-check only (Calculations > Reliability).
Note on F6: Record-note figure documented as cross-check only (Calculations > Reliability).
Note on F9: Searched the Commission document located for FY 2025-26; no voltage data.
Note on F10: Record-note figures documented as cross-check only (Calculations > Accidents).

## Source_Gaps
Item | Gap | Follow-up | Status after further review | Evidence (link)
FY 2025-26 performance statement | No Commission statement of TPWODL's reported performance for FY 2025-26 (the equivalent of S3 for earlier years) was found in the permitted repository or in the connected Google Drive. All 16 performance values are therefore missing. | Obtain the FY 2025-26 statement and rerun this financial year. | Unresolved. The OERC Performance of Discoms page lists only Guaranteed Standards zip files (including 2025-26, see below) and no Overall Standards statement; searches found none. The Commission's review record note (S4) is the only FY 2025-26 performance document located; it does not report the 16 dashboard indicators on the Overall Standards basis, so all rows keep no reported value. | OERC Performance of Discoms page
Amendments / replacement regulation | Only the 1st Amendment (2010, S2) was found. No later amendment, replacement regulation or Commission order under Reg. 4(3) altering Schedules I-II was found in the repository; applicability of S1 as amended by S2 to FY 2025-26 rests on that basis. | Confirm whether any amendment, replacement or Reg. 4(3) order was in force during FY 2025-26. | Partly resolved. OERC's regulation listings (S11, S12) show the 2004 regulation with the 2010 amendment only; no final later amendment, replacement or Reg. 4(3) order was located. Only draft amendments exist (below) and were not used. | OERC current regulations page (S11)
Reliability targets | No Commission notification of target levels for SAIFI / SAIDI / MAIFI (S1 Sch. II 1.5(ii)) applicable to FY 2025-26 was found; the S3 target column is blank for these rows. | Search OERC orders for reliability targets. | Unresolved. Rule 10 of the Rights of Consumers Rules, 2020 (S5) requires the Commission to specify SAIDI / SAIFI parameters; no OERC instrument doing so was located. | Rights of Consumers Rules, 2020 (S5)
Licensee's own SoP returns | TPWODL's monthly Guaranteed Standards reports and quarterly / annual Overall Standards reports (S1 Reg. 6) are not in the repository; only the Commission's consolidated annual statement (S3) is available. Case counts behind the reported shares are therefore unavailable. | Locate TPWODL SoP returns for FY 2025-26. | Unresolved. No TPWODL standards-of-performance return for FY 2025-26 was located. | OERC Performance of Discoms page
Guaranteed Standards performance | S3 Note 1 states that Guaranteed Standards information is available on the OERC and licensee websites; no such document is in the repository. | Obtain Guaranteed Standards performance for FY 2025-26. | Unresolved. The OERC page lists Guaranteed_Standards-2025-26.zip, but archive files could not be opened with the tools available, so its contents (and whether it holds Overall Standards figures or case counts) are unknown. | Guaranteed Standards 2025-26 (zip, not readable)
Reliability-index disaggregation | S1 requires monthly indices, urban/rural segregation and separate indices for predominantly agricultural feeders; only single annual values are reported, and whether agricultural feeders are excluded is not stated. | Locate monthly and disaggregated indices. | Unresolved. No monthly, urban / rural or agricultural-feeder indices located. The Commission's review record note (S4) gives SAIFI 331 and SAIDI 272 hours with a statement that the data cannot be relied upon (see Review_Items). Formula basis confirmed: S1 Sch. II 1.5 cites IEEE Std 1366 (1998). | S1 web copy
Frequency, street-light and voltage values | No FY 2025-26 value is available for any indicator. | Check licensee returns. | Unresolved. No FY 2025-26 value located; the review record note (S4) gives none. | TPWODL review record note (S4)
Voltage unbalance and harmonics | No reported values for S1 Sch. II 1.7 (voltage unbalance) or Sch. I 2.2 (harmonics); Commission orders setting the harmonics stage dates were not found. | Locate data and orders. | Unresolved. No TPWODL values or Commission orders located. | S1 web copy
Compensation records | No data on compensation paid under S1 Reg. 5 / Sch. III. | Locate compensation data. | Unresolved. No compensation data located. | OERC Performance of Discoms page
Referenced instruments | Orissa Grid Code (harmonics), OERC Distribution (Conditions of Supply) Code, 2004 (meters, new connections), Indian Electricity Rules, 1956 (S3 voltage row; S1 Sch. II 1.6) and the Government of Orissa rural-areas notification of 30 March 2005 (S2) are not in the repository. | Obtain if needed for definitions. | Partly resolved. The 2004 Supply Code was superseded by the Supply Code 2019 (OERC listing); no value or benchmark in the workbooks depends on it or on the Indian Electricity Rules 1956, the Orissa Grid Code or the 2005 rural-areas notification, which were not obtained. | OERC old-site regulations listing (S12)
S2 gazette date | S2 states it comes into force on publication in the Official Gazette; the gazette date is not in the file. | Confirm publication date (before FY 2025-26 in any case, as notified December 2010). | Resolved. Gazette No. 313 dated 04-02-2011 per the OERC regulations listing (S12). Effective before FY 2025-26. | OERC old-site regulations listing (S12)
DISCOM full name | The permitted sources identify the licensee only as 'TPWODL' (and the website tpwesternodisha.com); the full registered name is not stated. | Confirm full name and update the DISCOM field. | Resolved. 'TP Western Odisha Distribution Limited (TPWODL)' per the licence conditions, cl. 1.1 and 3.3(x) (S9). Main sheet updated. | TPWODL licence conditions (S9)
Drive links | Files were supplied without Google Drive URLs; the connected Google Drive was searched and holds no TPWODL or OERC documents. Link fields are recorded as not available. | Add Drive links when available. | Unchanged. Web sources are listed with their URLs in Source_Documentation; none has been uploaded to Drive.
Unit of voltage-case value | No FY 2025-26 voltage value is available. In earlier years the HT value was 1.5 (FY 2022-23), 9 (FY 2023-24) and 0.08 (FY 2024-25), and no source explains the reported basis. | Locate the licensee return or Commission reporting format. | Unresolved. No FY 2025-26 voltage value is available, and the review record note (S4) gives no voltage figures. | TPWODL review record note (S4)
Scale of billing and meter shares | No FY 2025-26 value is available. Earlier statements show faulty-bill and defective-meter shares varying by orders of magnitude between years, and no licensee return explaining the scale is in the repository. | Check licensee returns. | Unresolved. No FY 2025-26 value is available; the review record note (S4) gives no billing or meter shares. | TPWODL review record note (S4)
Draft amendment to the Standards of Performance Regulations (31 August 2019) | OERC notification no. OERC-Engg.-94/2003(Vol.-IV)/1251 proposing a '2nd Amendment'; the text says the Commission 'proposes' the amendments, with no sign of final notification. Not used as a standard. | Retrieve and review if a readable copy becomes available. | Recorded as an open item. | Draft 2nd Amendment, 2019 (excluded)
Draft Distribution Licensees' Standards of Performance Regulations, 2025 | Pre-published on 20 August 2025 (OERC notice dated 20.08.2025) for comments, during FY 2025-26. A draft; no final notified version was located on the Commission's regulation listings (S11). Not used as a standard. | Retrieve and review if a readable copy becomes available. | Recorded as an open item. | Draft regulations, 2025 (excluded)
Overall Performance Standards page (licence Condition 17, 1997 licence) | Undated page on the OERC old site framed under the Orissa Electricity Reform Act, 1995 and the 1997 licence. Legal status and applicability to FY 2025-26 could not be established. Not used. | Retrieve and review if a readable copy becomes available. | Recorded as an open item. | OERC Overall Performance Standards page (not used)
TPWODL Standard Performance web page | Returned an access-denied response, so licensee-published standards of performance reports could not be read. | Retrieve and review if a readable copy becomes available. | Recorded as an open item. | TPWODL Standard Performance page (blocked)
Record note figures not on the Overall Standards basis | The review record note (S4) gives SAIFI 331 and SAIDI 272 hours and accident totals, but not per kW of connected load, with a Commission caveat on SAIDI / SAIFI reliability and no fatal / non-fatal split for animals. They were therefore not entered as reported values. | Retrieve and review if a readable copy becomes available. | Recorded as an open item. | TPWODL review record note (S4)
Existing Sources folder | A Drive folder named 'Sources' for this project could not be located with the available search (only an unrelated 'Source files' folder owned by another user was found), so its contents were not inspected and its completeness is not verified. | Retrieve and review if a readable copy becomes available. | Recorded as an open item.
Note on A17: New source-gap entry from the further review.
Note on A18: New source-gap entry from the further review.
Note on A19: New source-gap entry from the further review.
Note on A20: New source-gap entry from the further review.
Note on A21: New source-gap entry from the further review.
Note on A22: New source-gap entry from the further review.
Note on D2: Status updated after further review; see the linked evidence.
Note on D3: Status updated after further review; see the linked evidence.
Note on D4: Status updated after further review; see the linked evidence.
Note on D5: Status updated after further review; see the linked evidence.
Note on D6: Status updated after further review; see the linked evidence.
Note on D7: Status updated after further review; see the linked evidence.
Note on D8: Status updated after further review; see the linked evidence.
Note on D9: Status updated after further review; see the linked evidence.
Note on D10: Status updated after further review; see the linked evidence.
Note on D11: Status updated after further review; see the linked evidence.
Note on D12: Status updated after further review; see the linked evidence.
Note on D13: Status updated after further review; see the linked evidence.
Note on D14: Status updated after further review; see the linked evidence.
Note on D15: Status updated after further review; see the linked evidence.
Note on D16: Status updated after further review; see the linked evidence.
Note on E2: Evidence for the status in column D.
Note on E3: Evidence for the status in column D.
Note on E4: Evidence for the status in column D.
Note on E5: Evidence for the status in column D.
Note on E6: Evidence for the status in column D.
Note on E7: Evidence for the status in column D.
Note on E8: Evidence for the status in column D.
Note on E9: Evidence for the status in column D.
Note on E10: Evidence for the status in column D.
Note on E11: Evidence for the status in column D.
Note on E12: Evidence for the status in column D.
Note on E13: Evidence for the status in column D.
Note on E15: Evidence for the status in column D.
Note on E16: Evidence for the status in column D.
Note on E17: Link to the document or official hosting page concerned.
Note on E18: Link to the document or official hosting page concerned.
Note on E19: Link to the document or official hosting page concerned.
Note on E20: Link to the document or official hosting page concerned.
Note on E21: Link to the document or official hosting page concerned.

## Data_Quality_Flags
Item | Observation | Treatment
Missing performance data | No FY 2025-26 TPWODL performance statement is available; all 16 indicators carry no value. | Reported data: 'No value reported for FY 2025-26.'; comparison marked not possible; Standard met? = N/A.
Standards | Standards are taken from S1 as amended by S2 and are unchanged; no later amendment located. | Standard column populated for all 16 rows.
Earlier-year observations | Earlier statements flagged: distribution-transformer area shares on different sides of the threshold (FY 2023-24, FY 2024-25); fractional HT voltage values; billing and meter share scale; line-breakdown clock start; scheduled-outage scope. | Not carried into FY 2025-26 as evidence; to be re-verified when the statement is obtained.
Definitions | Voltage-row wording, momentary-interruption threshold, billing wording, area terminology and the Sch. II 1.1 cross-reference follow S1 and earlier statements. | Not re-verified against a FY 2025-26 statement.

## Review_Items
Item | Summary | Reason held for review
FY 2025-26 statement | No FY 2025-26 performance statement is available, so every row is marked not comparable. | Rerun the year when the statement is obtained.
Distribution-transformer and line-breakdown comparability | Treatments applied in FY 2023-24 and FY 2024-25 (aggregate share not determinable when area shares straddle the threshold; clock-start difference for line breakdown) will need to be re-applied to the new data. | Decide on receipt of data.
Voltage-case unit and billing / meter scale | Unresolved in earlier years (fractional HT value; share scale). | Re-verify when data is available.
CAIDI | Not specified in S1 and not reported in earlier statements. | Not included in the main dataset.
Guaranteed Standards and compensation | Schedule I event-level standards and Schedule III compensation have no reported data in the repository. | Source gap.
Use of the Commission's review record note as reported data | The review record note (S4) gives SAIFI 331, SAIDI 272 hours, 31 human accidents (24 with loss of life) and 14 animal accidents for FY 2025-26, and says the SAIDI / SAIFI data cannot be relied upon. These are held as cross-check information because they are not stated on the Overall Standards basis (per kW of connected load) and the earlier-year record notes differed materially from the Commission's statements (for example, FY 2024-25: SAIFI 377 against 424; 20 human deaths against 8). | Decide whether the record note should supply Reported data where no statement exists; Main would then change for the SAIDI, SAIFI and accident rows only.
Distribution transformer failures | The review record note (S4) states 2,142 DTRs failed in FY 2025-26 (2,466 in FY 2024-25). No restoration-time shares or case counts by area are given, so the DT row cannot be compared. | Revisit if a statement or Guaranteed Standards return with counts is obtained.
Note on A7: Review item added with the outcome of the search.
Note on A8: Review item added with the outcome of the search.

## Conventions
Convention | Rule
Category convention | Supply-restoration and fault-rectification shares, billing mistakes and defective meters = Quality of Service; reliability indices, supply frequency and supply voltage = Quality & Reliability of Supply; accidents = Safety.
Indicator naming | '<Service> — share resolved within standard' for time-limited restoration parameters; '<Parameter> — <ratio>' for ratio standards; reliability indices use the full name with abbreviation; accidents follow 'Fatal / Non-fatal electrical accidents — humans / animals'.
Urban / rural | Where the standard and the reported data distinguish urban and rural areas, both appear in one row: area shares in Reported data; the combined FY share in the annualised field only where it can be derived without case counts (both area shares equal).
Percentages | One decimal place in the annualised field, e.g., 100.0%; Reported data retain source precision (e.g., 100.00%, 96.39%). Exception: faulty-bill and defective-meter shares are kept at source precision (0.00%, 0.05%) because one-decimal rounding would show 0.0% or 0.1% and obscure the value.
Indices | SAIDI in minutes, SAIFI in interruptions and MAIFI in momentary interruptions, each per kW of connected load (connected-load weighting per S1). Values are reported as annual whole numbers and are presented at source precision rather than two decimals.
FY notation | 'FY 2025-26' (April 2025 to March 2026).
Reported data | Final metric or concise series only, preserving the annual reporting basis and the urban/rural split; 'No value reported for FY 2025-26.' where the source shows '--'.
Annualised field | 'FY <metric>: <value>.'; 'Not annualised: no reported value.' where no value is reported; 'Not annualised: case counts required to combine the urban and rural shares are not reported.' where area shares differ and no counts are available; 'FY HT value: <value>; LT value: <value> (unit not established).' for the voltage row.
Comparison rule | Comparison possible? = No => Standard met? = N/A, without exception. Yes only where definition, unit, period, area and aggregation level align and the result can be determined on the original regulatory basis (aggregate share over total cases); where urban and rural shares fall on different sides of the threshold and case counts are unavailable the result cannot be determined and the row is marked No.
Reference workbooks | TPWODL FY 2024-25 dashboard and calculations workbooks used as the primary template for format, naming, units, precision and structure; UGVCL FY 2024-25 workbooks as the wider dashboard reference. Neither used as evidence.
DISCOM field | Registered name followed by the abbreviation in brackets, e.g., 'TP Western Odisha Distribution Limited (TPWODL)', as in the reference workbook.
Source IDs | Source IDs S5 to S13 follow the numbering used for FY 2021-22 where the same document is used; IDs not used in this year are omitted.
Note on A12: Convention added with the DISCOM name update.
Note on A13: Convention added.